## IFC2x3 TC1
IFC Class (Entity) | Revit | Archicad | Vectorworks | Eberick | TQS | QiBuilder | DDSCAD
IfcBeam | #N/A
IfcBeamType.BEAM | Structural Framing
IfcBeamType.JOIST | Structural Framing
IfcBeamType.LINTEL | Structural Framing
IfcBeamType.SPANDREL | Structural Framing
IfcBeamType.T_TBEAM | Structural Framing
IfcBeamType.USERDEFINED | Structural Framing
IfcBeamType.NOTDEFINED | Structural Framing
IfcBuildingElementProxy | #N/A
IfcBuildingElementProxyType.USERDEFINED | #N/A
IfcBuildingElementProxyType.NOTDEFINED | #N/A
IfcColumn | #N/A
IfcColumnType.COLUMN | Structural Columns
IfcColumnType.USERDEFINED | Columns
IfcColumnType.NOTDEFINED | Columns
IfcCovering | #N/A
IfcCoveringType.CEILING | #N/A
IfcCoveringType.FLOORING | #N/A
IfcCoveringType.CLADDING | #N/A
IfcCoveringType.ROOFING | #N/A
IfcCoveringType.INSULATION | #N/A
IfcCoveringType.MEMBRANE | #N/A
IfcCoveringType.SLEEVING | #N/A
IfcCoveringType.WRAPPING | #N/A
IfcCoveringType.USERDEFINED | #N/A
IfcCoveringType.NOTDEFINE | #N/A
IfcCurtainWall | #N/A
IfcCurtainWallType.USERDEFINED | Walls
IfcCurtainWallType.NOTDEFINED | Walls
IfcDiscreteAccessory | #N/A
IfcVibrationIsolatorType.COMPRESSION | #N/A
IfcVibrationIsolatorType.SPRING | #N/A
IfcVibrationIsolatorType.USERDEFINED | #N/A
IfcVibrationIsolatorType.NOTDEFINED | #N/A
IfcDistributionControlElement | #N/A
IfcActuator | #N/A
IfcActuatorType.ELECTRICACTUATOR | Mechanical Equipment
IfcActuatorType.HANDOPERATEDACTUATOR | Mechanical Equipment
IfcActuatorType.HYDRAULICACTUATOR | Mechanical Equipment
IfcActuatorType.PNEUMATICACTUATOR | Mechanical Equipment
IfcActuatorType.THERMOSTATICACTUATOR | Mechanical Equipment
IfcActuatorType.USERDEFINED | Mechanical Equipment
IfcActuatorType.NOTDEFINED | Mechanical Equipment
IfcAlarm | #N/A
IfcAlarmType.BELL | Fire Alarm Devices
IfcAlarmType.BREAKGLASSBUTTON | Fire Alarm Devices
IfcAlarmType.LIGHT | Fire Alarm Devices
IfcAlarmType.MANUALPULLBOX | Fire Alarm Devices
IfcAlarmType.SIREN | Fire Alarm Devices
IfcAlarmType.WHISTLE | Fire Alarm Devices
IfcAlarmType.USERDEFINED | Fire Alarm Devices
IfcAlarmType.NOTDEFINED | Fire Alarm Devices
IfcControll | #N/A
IfcControllerType.FLOATING | Electrical Equipment
IfcControllerType.PROGRAMMABLE | Electrical Equipment
IfcControllerType.PROPORTIONAL | Electrical Equipment
IfcControllerType.PROPORTIONALINTEGRAL | Electrical Equipment
IfcControllerType.PROPORTIONALINTEGRALDERIVATIVE | Electrical Equipment
IfcControllerType.TIMEDTWOPOSITION | Electrical Equipment
IfcControllerType.TWOPOSITION | Electrical Equipment
IfcControllerType.USERDEFINED | Electrical Equipment
IfcControllerType.NOTDEFINED | Electrical Equipment
IfcFlowInstrument | #N/A
IfcFlowInstrumentType.PRESSUREGAUGE | Pipe Accessories
IfcFlowInstrumentType.THERMOMETER | Mechanical Equipment
IfcFlowInstrumentType.AMMETER | Electrical Equipment
IfcFlowInstrumentType.FREQUENCYMETER | Electrical Equipment
IfcFlowInstrumentType.POWERFACTORMETER | Electrical Equipment
IfcFlowInstrumentType.PHASEANGLEMETER | Electrical Equipment
IfcFlowInstrumentType.VOLTMETER_PEAK | Electrical Equipment
IfcFlowInstrumentType.VOLTMETER_RMS | Electrical Equipment
IfcFlowInstrumentType.USERDEFINED | Electrical Equipment
IfcFlowInstrumentType.NOTDEFINED | Electrical Equipment
IfcSensor | #N/A
IfcSensorType.CO2SENSOR | Specialty Equipment
IfcSensorType.FIRESENSOR | Specialty Equipment
IfcSensorType.FLOWSENSOR | Lighting Devices
IfcSensorType.GASSENSOR | Specialty Equipment
IfcSensorType.HEATSENSOR | Security Devices
IfcSensorType.HUMIDITYSENSOR | Specialty Equipment
IfcSensorType.LIGHTSENSOR | Fire Alarm Devices
IfcSensorType.MOISTURESENSOR | Specialty Equipment
IfcSensorType.MOVEMENETSENSOR | Specialty Equipment
IfcSensorType.PRESSURESENSOR | Fire Alarm Devices
IfcSensorType.SMOKESENSOR | Fire Alarm Devices
IfcSensorType.SOUNDSENSOR | Electrical Equipment
IfcSensorType.TEMPERATURESENSOR | Mechanical Equipment
IfcSensorType.USERDEFINED | Electrical Equipment
IfcSensorType.NOTDEFINED | Electrical Equipment
IfcDistributionElement | #N/A
IfcDistributionControlElement | #N/A
IfcActuator | #N/A
IfcActuatorType.ELECTRICACTUATOR | Mechanical Equipment
IfcActuatorType.HANDOPERATEDACTUATOR | Mechanical Equipment
IfcActuatorType.HYDRAULICACTUATOR | Mechanical Equipment
IfcActuatorType.PNEUMATICACTUATOR | Mechanical Equipment
IfcActuatorType.THERMOSTATICACTUATOR | Mechanical Equipment
IfcActuatorType.USERDEFINED | Mechanical Equipment
IfcActuatorType.NOTDEFINED | Mechanical Equipment
IfcAlaram | #N/A
IfcAlarmType.BELL | Fire Alarm Devices
IfcAlarmType.BREAKGLASSBUTTON | Fire Alarm Devices
IfcAlarmType.LIGHT | Fire Alarm Devices
IfcAlarmType.MANUALPULLBOX | Fire Alarm Devices
IfcAlarmType.SIREN | Fire Alarm Devices
IfcAlarmType.WHISTLE | Fire Alarm Devices
IfcAlarmType.USERDEFINED | Fire Alarm Devices
IfcAlarmType.NOTDEFINED | Fire Alarm Devices
IfcController | #N/A
IfcControllerType.FLOATING | Electrical Equipment
IfcControllerType.PROGRAMMABLE | Electrical Equipment
IfcControllerType.PROPORTIONAL | Electrical Equipment
IfcControllerType.PROPORTIONALINTEGRAL | Electrical Equipment
IfcControllerType.PROPORTIONALINTEGRALDERIVATIVE | Electrical Equipment
IfcControllerType.TIMEDTWOPOSITION | Electrical Equipment
IfcControllerType.TWOPOSITION | Electrical Equipment
IfcControllerType.USERDEFINED | Electrical Equipment
IfcControllerType.NOTDEFINED | Electrical Equipment
IfcDistributionFlowElement | #N/A
IfcDistributionChamberElement | #N/A
IfcDistributionChamberElementType.FORMEDDUCT | Site
IfcDistributionChamberElementType.INSPECTIONCHAMBER | Site
IfcDistributionChamberElementType.INSPECTIONPIT | Site
IfcDistributionChamberElementType.MANHOLE | Site
IfcDistributionChamberElementType.METERCHAMBER | Site
IfcDistributionChamberElementType.SUMP | Site
IfcDistributionChamberElementType.TRENCH | Site
IfcDistributionChamberElementType.VALVECHAMBER | Site
IfcDistributionChamberElementType.USERDEFINED | Site
IfcDistributionChamberElementType.NOTDEFINED | Site
IfcFlowStorageDevice | #N/A
IfcTankType.PREFORMED | Mechanical Equipment
IfcTankType.SECTIONAL | Mechanical Equipment
IfcTankType.EXPANSION | Mechanical Equipment
IfcTankType.PRESSUREVESSEL | Mechanical Equipment
IfcTankType.USERDEFINED | Mechanical Equipment
IfcTankType.NOTDEFINED | Mechanical Equipment
IfcDoor | #N/A
IfcEnergyConversionDevice | #N/A
IfcAirToAirHeatRecovery | #N/A
IfcAirToAirHeatRecoveryType.FIXEDPLATECOUNTERFLOWEXCHANGER | Mechanical Equipment
IfcAirToAirHeatRecoveryType.FIXEDPLATECROSSFLOWEXCHANGER | Mechanical Equipment
IfcAirToAirHeatRecoveryType.FIXEDPLATEPARALLELFLOWEXCHANGER | Mechanical Equipment
IfcAirToAirHeatRecoveryType.ROTARYWHEEL | Mechanical Equipment
IfcAirToAirHeatRecoveryType.RUNAROUNDCOILLOOP | Mechanical Equipment
IfcAirToAirHeatRecoveryType.HEATPIPE | Mechanical Equipment
IfcAirToAirHeatRecoveryType.TWINTOWERENTHALPYRECOVERYLOOPS | Mechanical Equipment
IfcAirToAirHeatRecoveryType.THERMOSIPHONSEALEDTUBEHEATEXCHANGERS | Mechanical Equipment
IfcAirToAirHeatRecoveryType.THERMOSIPHONCOILTYPEHEATEXCHANGERS | Mechanical Equipment
IfcAirToAirHeatRecoveryType.USERDEFINED | Mechanical Equipment
IfcAirToAirHeatRecoveryType.NOTDEFINED | Mechanical Equipment
IfcBoiler | #N/A
IfcBoilerType.WATER | Mechanical Equipment
IfcBoilerType.STEAM | Mechanical Equipment
IfcBoilerType.USERDEFINED | Mechanical Equipment
IfcBoilerType.NOTDEFINED | Mechanical Equipment
IfcChiller | #N/A
IfcChillerType.AIRCOOLED | Mechanical Equipment
IfcChillerType.WATERCOOLED | Mechanical Equipment
IfcChillerType.HEATRECOVERY | Mechanical Equipment
IfcChillerType.USERDEFINED | Mechanical Equipment
IfcChillerType.NOTDEFINED | Mechanical Equipment
IfcCoil | #N/A
IfcCoilType.DXCOOLINGCOIL | Mechanical Equipment
IfcCoilType.ELECTRICHEATINGCOIL | Mechanical Equipment
IfcCoilType.GASHEATINGCOIL | Mechanical Equipment
IfcCoilType.STEAMHEATINGCOIL | Mechanical Equipment
IfcCoilType.WATERCOOLINGCOIL | Mechanical Equipment
IfcCoilType.WATERHEATINGCOIL | Mechanical Equipment
IfcCoilType.USERDEFINED | Mechanical Equipment
IfcCoilType.NOTDEFINED | Mechanical Equipment
IfcCondenser | #N/A
IfcCondenserType.AIRCOOLED | Mechanical Equipment
IfcCondenserType.EVAPORATIVECOOLED | Mechanical Equipment
IfcCondenserType.WATERCOOLEDBRAZEDPLATE | Mechanical Equipment
IfcCondenserType.WATERCOOLEDSHELLCOIL | Mechanical Equipment
IfcCondenserType.WATERCOOLEDSHELLTUBE | Mechanical Equipment
IfcCondenserType.WATERCOOLEDTUBEINTUBE | Mechanical Equipment
IfcCondenserType.USERDEFINED | Mechanical Equipment
IfcCondenserType.NOTDEFINED | Mechanical Equipment
IfcCooledBeam | #N/A
IfcCooledBeamType.ACTIVE | Mechanical Equipment
IfcCooledBeamType.PASSIVE | Mechanical Equipment
IfcCooledBeamType.USERDEFINED | Mechanical Equipment
IfcCooledBeamType.NOTDEFINED | Mechanical Equipment
IfcCoolingTower | #N/A
IfcCoolingTowerType.NATURALDRAFT | Mechanical Equipment
IfcCoolingTowerType.MECHANICALINDUCEDDRAFT | Mechanical Equipment
IfcCoolingTowerType.MECHANICALFORCEDDRAFT | Mechanical Equipment
IfcCoolingTowerType.USERDEFINED | Mechanical Equipment
IfcCoolingTowerType.NOTDEFINED | Mechanical Equipment
IfcElectricGenerator | #N/A
IfcElectricGeneratorType.USERDEFINED | Electrical Equipment
IfcElectricGeneratorType.NOTDEFINED | Electrical Equipment
IfcElectricMotor | #N/A
IfcElectricMotorType.DC | Electrical Equipment
IfcElectricMotorType.INDUCTION | Electrical Equipment
IfcElectricMotorType.POLYPHASE | Electrical Equipment
IfcElectricMotorType.RELUCTANCESYNCHRONOUS | Electrical Equipment
IfcElectricMotorType.SYNCHRONOUS | Electrical Equipment
IfcElectricMotorType.USERDEFINED | Electrical Equipment
IfcElectricMotorType.NOTDEFINED | Electrical Equipment
IfcEvaporativeCooler | #N/A
IfcEvaporativeCoolerType.DIRECTEVAPORATIVERANDOMMEDIAAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVERIGIDMEDIAAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVESLINGERSPACKAGEDAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVEPACKAGEDROTARYAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVEAIRWASHER | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTEVAPORATIVEPACKAGEAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTEVAPORATIVEWETCOIL | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTEVAPORATIVECOOLINGTOWERORCOILCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTDIRECTCOMBINATION | Mechanical Equipment
IfcEvaporativeCoolerType.USERDEFINED | Mechanical Equipment
IfcEvaporativeCoolerType.NOTDEFINED | Mechanical Equipment
IfcEvaporator | #N/A
IfcEvaporatorType.DIRECTEXPANSIONSHELLANDTUBE | Mechanical Equipment
IfcEvaporatorType.DIRECTEXPANSIONTUBEINTUBE | Mechanical Equipment
IfcEvaporatorType.DIRECTEXPANSIONBRAZEDPLATE | Mechanical Equipment
IfcEvaporatorType.FLOODEDSHELLANDTUBE | Mechanical Equipment
IfcEvaporatorType.SHELLANDCOIL | Mechanical Equipment
IfcEvaporatorType.USERDEFINED | Mechanical Equipment
IfcEvaporatorType.NOTDEFINED | Mechanical Equipment
IfcHeatExchanger | #N/A
IfcHeatExchangerType.PLATE | Mechanical Equipment
IfcHeatExchangerType.SHELLANDTUBE | Mechanical Equipment
IfcHeatExchangerType.USERDEFINED | Mechanical Equipment
IfcHeatExchangerType.NOTDEFINED | Mechanical Equipment
IfcHumidifier | #N/A
IfcHumidifierType.STEAMINJECTION | Mechanical Equipment
IfcHumidifierType.ADIABATICAIRWASHER | Mechanical Equipment
IfcHumidifierType.ADIABATICPAN | Mechanical Equipment
IfcHumidifierType.ADIABATICWETTEDELEMENT | Mechanical Equipment
IfcHumidifierType.ADIABATICATOMIZING | Mechanical Equipment
IfcHumidifierType.ADIABATICULTRASONIC | Mechanical Equipment
IfcHumidifierType.ADIABATICRIGIDMEDIA | Mechanical Equipment
IfcHumidifierType.ADIABATICCOMPRESSEDAIRNOZZLE | Mechanical Equipment
IfcHumidifierType.ASSISTEDELECTRIC | Mechanical Equipment
IfcHumidifierType.ASSISTEDNATURALGAS | Mechanical Equipment
IfcHumidifierType.ASSISTEDPROPANE | Mechanical Equipment
IfcHumidifierType.ASSISTEDBUTANE | Mechanical Equipment
IfcHumidifierType.ASSISTEDSTEAM | Mechanical Equipment
IfcHumidifierType.USERDEFINED | Mechanical Equipment
IfcHumidifierType.NOTDEFINED | Mechanical Equipment
IfcMotorConnection | #N/A
IfcMotorConnectionType.BELTDRIVE | Electrical Fixtures
IfcMotorConnectionType.COUPLING | Electrical Fixtures
IfcMotorConnectionType.DIRECTDRIVE | Electrical Fixtures
IfcMotorConnectionType.USERDEFINED | Electrical Fixtures
IfcMotorConnectionType.NOTDEFINED | Electrical Fixtures
IfcSpaceHeater | #N/A
IfcSpaceHeaterType.SECTIONALRADIATOR | Mechanical Equipment
IfcSpaceHeaterType.PANELRADIATIOR | Mechanical Equipment
IfcSpaceHeaterType.TUBULARRADIATOR | Mechanical Equipment
IfcSpaceHeaterType.CONVECTOR | Mechanical Equipment
IfcSpaceHeaterType.BASEBOARDHEATER | Mechanical Equipment
IfcSpaceHeaterType.FINNEDTUBEUNIT | Mechanical Equipment
IfcSpaceHeaterType.UNITHEATER | Mechanical Equipment
IfcSpaceHeaterType.USERDEFINED | Mechanical Equipment
IfcSpaceHeaterType.NOTDEFINED | Mechanical Equipment
IfcTubeBundle | #N/A
IfcTubeBundleType.FINNED | Mechanical Equipment
IfcTubeBundleType.USERDEFINED | Mechanical Equipment
IfcTubeBundleType.NOTDEFINED | Mechanical Equipment
IfcTransformer | #N/A
IfcTransformerType.CURRENT | Electrical Equipment
IfcTransformerType.FREQUENCY | Electrical Equipment
IfcTransformerType.VOLTAGE | Electrical Equipment
IfcTransformerType.USERDEFINED | Electrical Equipment
IfcTransformerType.NOTDEFINED | Electrical Equipment
IfcFastener | #N/A
IfcFastenerType.GLUE | Structural Connections
IfcFastenerType.JOINTING_MORTAR | Structural Connections
IfcFastenerType.WELD | Structural Connections
IfcFastenerType.USERDEFINED | Structural Connections
IfcFastenerType.NOTDEFINED | Structural Connections
IfcFeatureElement | #N/A
IfcFeatureElementAddition | #N/A
IfcFeatureElementSubtraction | #N/A
IfcOpeningElement | #N/A
IfcFlowController | #N/A
IfcAirTerminalBox | #N/A
IfcAirTerminalBoxType.CONSTANTFLOW | Mechanical Equipment
IfcAirTerminalBoxType.VARIABLEFLOWPRESSUREDEPENDANT | Mechanical Equipment
IfcAirTerminalBoxType.VARIABLEFLOWPRESSUREINDEPENDANT | Mechanical Equipment
IfcAirTerminalBoxType.USERDEFINED | Mechanical Equipment
IfcAirTerminalBoxType.NOTDEFINED | Mechanical Equipment
IfcDamper | #N/A
IfcDamperType.BACKDRAFTDAMPER | Duct Accessories
IfcDamperType.CONTROLDAMPER | Duct Accessories
IfcDamperType.FIREDAMPER | Duct Accessories
IfcDamperType.FIRESMOKEDAMPER | Duct Accessories
IfcDamperType.FUMEHOODEXHAUST | Duct Accessories
IfcDamperType.GRAVITYDAMPER | Duct Accessories
IfcDamperType.GRAVITYRELIEFDAMPER | Duct Accessories
IfcDamperType.RELIEFDAMPER | Duct Accessories
IfcDamperType.SMOKEDAMPER | Duct Accessories
IfcDamperType.USERDEFINED | Duct Accessories
IfcDamperType.NOTDEFINED | Duct Accessories
IfcElectricDistributionPoint | #N/A
IfcElectricDistributionPointFunction.ALARMPANEL | #N/A
IfcElectricDistributionPointFunction.CONSUMERUNIT | #N/A
IfcElectricDistributionPointFunction.CONTROLPANEL | #N/A
IfcElectricDistributionPointFunction.DISTRIBUTIONBOARD | #N/A
IfcElectricDistributionPointFunction.GASDETECTORPANEL | #N/A
IfcElectricDistributionPointFunction.INDICATORPANEL | #N/A
IfcElectricDistributionPointFunction.MIMICPANEL | #N/A
IfcElectricDistributionPointFunction.MOTORCONTROLCENTRE | #N/A
IfcElectricDistributionPointFunction.SWITCHBOARD | #N/A
IfcElectricDistributionPointFunction.USERDEFINED | #N/A
IfcElectricDistributionPointFunction.NOTDEFINED | #N/A
IfcElectricTimeControl | #N/A
IfcElectricTimeControlType.TIMECLOCK | #N/A
IfcElectricTimeControlType.TIMEDELAY | #N/A
IfcElectricTimeControlType.RELAY | #N/A
IfcElectricTimeControlType.USERDEFINED | #N/A
IfcElectricTimeControlType.NOTDEFINED | #N/A
IfcFlowMeter | #N/A
IfcFlowMeterType.ELECTRICMETER | Electrical Equipment
IfcFlowMeterType.ENERGYMETER | Electrical Equipment
IfcFlowMeterType.FLOWMETER | Pipe Accessories
IfcFlowMeterType.GASMETER | Pipe Accessories
IfcFlowMeterType.OILMETER | Pipe Accessories
IfcFlowMeterType.WATERMETER | Pipe Accessories
IfcFlowMeterType.USERDEFINED | Pipe Accessories
IfcFlowMeterType.NOTDEFINED | Pipe Accessories
IfcValve | #N/A
IfcValveType.AIRRELEASE | Pipe Accessories
IfcValveType.ANTIVACUUM | Pipe Accessories
IfcValveType.CHANGEOVER | Pipe Accessories
IfcValveType.CHECK | Pipe Accessories
IfcValveType.COMMISSIONING | Pipe Accessories
IfcValveType.DIVERTING | Pipe Accessories
IfcValveType.DRAWOFFCOCK | Pipe Accessories
IfcValveType.DOUBLECHECK | Pipe Accessories
IfcValveType.DOUBLEREGULATING | Pipe Accessories
IfcValveType.FAUCET | Pipe Accessories
IfcValveType.FLUSHING | Pipe Accessories
IfcValveType.GASCOCK | Pipe Accessories
IfcValveType.GASTAP | Pipe Accessories
IfcValveType.ISOLATING | Pipe Accessories
IfcValveType.MIXING | Pipe Accessories
IfcValveType.PRESSUREREDUCING | Pipe Accessories
IfcValveType.PRESSURERELIEF | Pipe Accessories
IfcValveType.REGULATING | Pipe Accessories
IfcValveType.SAFETYCUTOFF | Pipe Accessories
IfcValveType.STEAMTRAP | Pipe Accessories
IfcValveType.STOPCOCK | Pipe Accessories
IfcValveType.USERDEFINED | Pipe Accessories
IfcValveType.NOTDEFINED | Pipe Accessories
IfcFlowFitting | #N/A
IfcCableCarrierFitting | #N/A
IfcCableCarrierFittingType.BEND | Cable Tray Fittings / Conduit Fittings
IfcCableCarrierFittingType.CROSS | Cable Tray Fittings / Conduit Fittings
IfcCableCarrierFittingType.REDUCER | Cable Tray Fittings / Conduit Fittings
IfcCableCarrierFittingType.TEE | Cable Tray Fittings / Conduit Fittings
IfcCableCarrierFittingType.USERDEFINED | Cable Tray Fittings / Conduit Fittings
IfcCableCarrierFittingType.NOTDEFINED | Cable Tray Fittings / Conduit Fittings
IfcDuctFitting | #N/A
IfcDuctFittingType.BEND | Duct Fittings
IfcDuctFittingType.CONNECTOR | Duct Fittings
IfcDuctFittingType.ENTRY | Duct Fittings
IfcDuctFittingType.EXIT | Duct Fittings
IfcDuctFittingType.JUNCTION | Duct Fittings
IfcDuctFittingType.OBSTRUCTION | Duct Fittings
IfcDuctFittingType.TRANSITION | Duct Fittings
IfcDuctFittingType.USERDEFINED | Duct Fittings
IfcDuctFittingType.NOTDEFINED | Duct Fittings
IfcJunctionBox | #N/A
IfcJunctionBoxType.USERDEFINED | Electrical Fixtures
IfcJunctionBoxType.NOTDEFINED | Electrical Fixtures
IfcPipeFitting | #N/A
IfcPipeFittingType.BEND | Pipe Fittings
IfcPipeFittingType.CONNECTOR | Pipe Fittings
IfcPipeFittingType.ENTRY | Pipe Fittings
IfcPipeFittingType.EXIT | Pipe Fittings
IfcPipeFittingType.JUNCTION | Pipe Fittings
IfcPipeFittingType.OBSTRUCTION | Pipe Fittings
IfcPipeFittingType.TRANSITION | Pipe Fittings
IfcPipeFittingType.USERDEFINED | Pipe Fittings
IfcPipeFittingType.NOTDEFINED | Pipe Fittings
IfcFlowMovingDevice | #N/A
IfcCompressor | #N/A
IfcCompressorType.DYNAMIC | Mechanical Equipment
IfcCompressorType.RECIPROCATING | Mechanical Equipment
IfcCompressorType.ROTARY | Mechanical Equipment
IfcCompressorType.SCROLL | Mechanical Equipment
IfcCompressorType.TROCHOIDAL | Mechanical Equipment
IfcCompressorType.SINGLESTAGE | Mechanical Equipment
IfcCompressorType.BOOSTER | Mechanical Equipment
IfcCompressorType.OPENTYPE | Mechanical Equipment
IfcCompressorType.HERMETIC | Mechanical Equipment
IfcCompressorType.SEMIHERMETIC | Mechanical Equipment
IfcCompressorType.WELDEDSHELLHERMETIC | Mechanical Equipment
IfcCompressorType.ROLLINGPISTON | Mechanical Equipment
IfcCompressorType.ROTARYVANE | Mechanical Equipment
IfcCompressorType.SINGLESCREW | Mechanical Equipment
IfcCompressorType.TWINSCREW | Mechanical Equipment
IfcCompressorType.USERDEFINED | Mechanical Equipment
IfcCompressorType.NOTDEFINED | Mechanical Equipment
IfcFan | #N/A
IfcFanType.CENTRIFUGALFORWARDCURVED | Mechanical Equipment
IfcFanType.CENTRIFUGALRADIAL | Mechanical Equipment
IfcFanType.CENTRIFUGALBACKWARDINCLINEDCURVED | Mechanical Equipment
IfcFanType.CENTRIFUGALAIRFOIL | Mechanical Equipment
IfcFanType.TUBEAXIAL | Mechanical Equipment
IfcFanType.VANEAXIAL | Mechanical Equipment
IfcFanType.PROPELLORAXIAL | Mechanical Equipment
IfcFanType.USERDEFINED | Mechanical Equipment
IfcFanType.NOTDEFINED | Mechanical Equipment
IfcPump | #N/A
IfcPumpType.CIRCULATOR | Mechanical Equipment
IfcPumpType.ENDSUCTION | Mechanical Equipment
IfcPumpType.SPLITCASE | Mechanical Equipment
IfcPumpType.VERTICALINLINE | Mechanical Equipment
IfcPumpType.VERTICALTURBINE | Mechanical Equipment
IfcPumpType.USERDEFINED | Mechanical Equipment
IfcPumpType.NOTDEFINED | Mechanical Equipment
IfcFlowSegment | #N/A
IfcCableCarrierSegment | #N/A
IfcCableCarrierSegmentType.CABLELADDERSEGMENT | Cable Trays
IfcCableCarrierSegmentType.CABLETRAYSEGMENT | Cable Trays
IfcCableCarrierSegmentType.CABLETRUNKINGSEGMENT | Cable Trays
IfcCableCarrierSegmentType.CONDUITSEGMENT | Conduits
IfcCableCarrierSegmentType.USERDEFINED | Cable Trays
IfcCableCarrierSegmentType.NOTDEFINED | Cable Trays
IfcCableSegment | #N/A
IfcCableSegmentType.CABLESEGMENT | Conduits
IfcCableSegmentType.CONDUCTORSEGMENT | Conduits
IfcCableSegmentType.USERDEFINED | Conduits
IfcCableSegmentType.NOTDEFINED | Conduits
IfcDuctSegment | #N/A
IfcDuctSegmentType.RIGIDSEGMENT | Ducts
IfcDuctSegmentType.FLEXIBLESEGMENT | Ducts
IfcDuctSegmentType.USERDEFINED | Ducts
IfcDuctSegmentType.NOTDEFINED | Ducts
IfcPipeSegment | #N/A
IfcPipeSegmentType.FLEXIBLESEGMENT | Pipes
IfcPipeSegmentType.RIGIDSEGMENT | Pipes
IfcPipeSegmentType.GUTTER | Pipes
IfcPipeSegmentType.SPOOL | Pipes
IfcPipeSegmentType.USERDEFINED | Pipes
IfcPipeSegmentType.NOTDEFINED | Pipes
IfcFlowTerminal | #N/A
IfcAirTerminal | #N/A
IfcAirTerminalType.GRILLE | Air Terminals
IfcAirTerminalType.REGISTER | Air Terminals
IfcAirTerminalType.DIFFUSER | Air Terminals
IfcAirTerminalType.EYEBALL | Air Terminals
IfcAirTerminalType.IRIS | Air Terminals
IfcAirTerminalType.LINEARGRILLE | Air Terminals
IfcAirTerminalType.LINEARDIFFUSER | Air Terminals
IfcAirTerminalType.USERDEFINED | Air Terminals
IfcAirTerminalType.NOTDEFINED | Air Terminals
IfcElectricAppliance | #N/A
IfcElectricApplianceType.COMPUTER | Specialty Equipment
IfcElectricApplianceType.DIRECTWATERHEATER | Specialty Equipment
IfcElectricApplianceType.DISHWASHER | Specialty Equipment
IfcElectricApplianceType.ELECTRICCOOKER | Specialty Equipment
IfcElectricApplianceType.ELECTRICHEATER | Specialty Equipment
IfcElectricApplianceType.FASCIMILE | Specialty Equipment
IfcElectricApplianceType.FREESTANDINGFAN | Specialty Equipment
IfcElectricApplianceType.FREEZER | Specialty Equipment
IfcElectricApplianceType.FRIDGE_FREEZER | Specialty Equipment
IfcElectricApplianceType.HANDDRYER | Specialty Equipment
IfcElectricApplianceType.INDIRECTWATERHEATER | Specialty Equipment
IfcElectricApplianceType.MICROWAVE | Specialty Equipment
IfcElectricApplianceType.PHOTOCOPIER | Specialty Equipment
IfcElectricApplianceType.PRINTER | Specialty Equipment
IfcElectricApplianceType.REFRIGERATOR | Specialty Equipment
IfcElectricApplianceType.RADIANTHEATER | Specialty Equipment
IfcElectricApplianceType.SCANNER | Specialty Equipment
IfcElectricApplianceType.TELEPHONE | Specialty Equipment
IfcElectricApplianceType.TUMBLEDRYER | Specialty Equipment
IfcElectricApplianceType.TV | Specialty Equipment
IfcElectricApplianceType.VENDINGMACHINE | Specialty Equipment
IfcElectricApplianceType.WASHINGMACHINE | Specialty Equipment
IfcElectricApplianceType.WATERHEATER | Specialty Equipment
IfcElectricApplianceType.WATERCOOLR | Specialty Equipment
IfcElectricApplianceType.USERDEFINED | Specialty Equipment
IfcElectricApplianceType.NOTDEFINED | Specialty Equipment
IfcElectricFlowStorageDevice | #N/A
IfcElectricFlowStorageDeviceType.BATTERY | Electrical Equipment
IfcElectricFlowStorageDeviceType.CAPACITORBANK | Electrical Equipment
IfcElectricFlowStorageDeviceType.HARMONICFILTER | Electrical Equipment
IfcElectricFlowStorageDeviceType.INDUCTORBANK | Electrical Equipment
IfcElectricFlowStorageDeviceType.UPS | Electrical Equipment
IfcElectricFlowStorageDeviceType.USERDEFINED | Electrical Equipment
IfcElectricFlowStorageDeviceType.NOTDEFINED | Electrical Equipment
IfcElectricHeater | #N/A
IfcElectricHeaterType.ELECTRICPOINTHEATER | #N/A
IfcElectricHeaterType.ELECTRICCABLEHEATER | #N/A
IfcElectricHeaterType.ELECTRICMATHEATER | #N/A
IfcElectricHeaterType.USERDEFINED | #N/A
IfcElectricHeaterType.NOTDEFINED | #N/A
IfcFireSuppressionTerminal | #N/A
IfcFireSuppressionTerminalType.BREECHINGINLET | Pipe Accessories
IfcFireSuppressionTerminalType.FIREHYDRANT | Pipe Fittings
IfcFireSuppressionTerminalType.HOSEREEL | Pipe Fittings
IfcFireSuppressionTerminalType.SPRINKLER | Sprinklers
IfcFireSuppressionTerminalType.SPRINKLERDEFLECTOR | Sprinklers
IfcFireSuppressionTerminalType.USERDEFINED | Pipe Accessories
IfcFireSuppressionTerminalType.NOTDEFINED | Pipe Accessories
IfcGasTerminal | #N/A
IfcGasTerminalType.GASAPPLIANCE | Mechanical Equipment
IfcGasTerminalType.GASBOOSTER | Mechanical Equipment
IfcGasTerminalType.GASBURNER | Mechanical Equipment
IfcGasTerminalType.USERDEFINED | Mechanical Equipment
IfcGasTerminalType.NOTDEFINED | Mechanical Equipment
IfcLamp | #N/A
IfcLampType.COMPACTFLUORESCENT | Lighting Fixtures
IfcLampType.FLUORESCENT | Lighting Fixtures
IfcLampType.HIGHPRESSUREMERCURY | Lighting Fixtures
IfcLampType.HIGHPRESSURESODIUM | Lighting Fixtures
IfcLampType.METALHALIDE | Lighting Fixtures
IfcLampType.TUNGSTENFILAMENT | Lighting Fixtures
IfcLampType.USERDEFINED | Lighting Fixtures
IfcLampType.NOTDEFINED | Lighting Fixtures
IfcLightFixture | #N/A
IfcLightFixtureType.POINTSOURCE | Lighting Fixtures
IfcLightFixtureType.DIRECTIONSOURCE | Lighting Fixtures
IfcLightFixtureType.USERDEFINED | Lighting Fixtures
IfcLightFixtureType.NOTDEFINED | Lighting Fixtures
IfcOutlet | #N/A
IfcOutletType.AUDIOVISUALOUTLET | Communication Devices
IfcOutletType.COMMUNICATIONSOUTLET | Communication Devices
IfcOutletType.POWEROUTLET | Electrical Fixtures
IfcOutletType.USERDEFINED | Electrical Fixtures
IfcOutletType.NOTDEFINED | Electrical Fixtures
IfcSanitaryTerminal | #N/A
IfcSanitaryTerminalType.BATH | Plumbing Fixtures
IfcSanitaryTerminalType.BIDET | Plumbing Fixtures
IfcSanitaryTerminalType.CISTERN | Plumbing Fixtures
IfcSanitaryTerminalType.SHOWER | Plumbing Fixtures
IfcSanitaryTerminalType.SINK | Plumbing Fixtures
IfcSanitaryTerminalType.SANITARYFOUNTAIN | Plumbing Fixtures
IfcSanitaryTerminalType.TOILETPAN | Plumbing Fixtures
IfcSanitaryTerminalType.URINAL | Plumbing Fixtures
IfcSanitaryTerminalType.WASHHANDBASIN | Plumbing Fixtures
IfcSanitaryTerminalType.WCSEAT | Plumbing Fixtures
IfcSanitaryTerminalType.USERDEFINED | Plumbing Fixtures
IfcSanitaryTerminalType.NOTDEFINED | Plumbing Fixtures
IfcStackTerminal | #N/A
IfcStackTerminalType.BIRDCAGE | #N/A
IfcStackTerminalType.COWL | #N/A
IfcStackTerminalType.RAINWATERHOPPER | #N/A
IfcStackTerminalType.USERDEFINED | #N/A
IfcStackTerminalType.NOTDEFINED | #N/A
IfcWasteTerminal | #N/A
IfcWasteTerminalType.FLOORTRAP | #N/A
IfcWasteTerminalType.FLOORWASTE | #N/A
IfcWasteTerminalType.GREASEINTERCEPTOR | Site
IfcWasteTerminalType.OILINTERCEPTOR | Site
IfcWasteTerminalType.PETROLINTERCEPTOR | Site
IfcWasteTerminalType.ROOFDRAIN | Plumbing Fixtures
IfcWasteTerminalType.GULLYSUMP | Site
IfcWasteTerminalType.GULLYTRAP | Site
IfcWasteTerminalType.ROOFDRAIN | Plumbing Fixtures
IfcWasteTerminalType.WASTEDISPOSALUNIT | Specialty Equipment
IfcWasteTerminalType.WASTETRAP | #N/A
IfcWasteTerminalType.USERDEFINED | #N/A
IfcWasteTerminalType.NOTDEFINED | #N/A
IfcFlowTreatmentDevice | #N/A
IfcDuctSilencer | #N/A
IfcDuctSilencerType.FLATOVAL | Duct Accessories
IfcDuctSilencerType.RECTANGULAR | Duct Accessories
IfcDuctSilencerType.ROUND | Duct Accessories
IfcDuctSilencerType.USERDEFINED | Duct Accessories
IfcDuctSilencerType.NOTDEFINED | Duct Accessories
IfcFilter | #N/A
IfcFilterType.AIRPARTICLEFILTER | Mechanical Equipment
IfcFilterType.ODORFILTER | Mechanical Equipment
IfcFilterType.OILFILTER | Mechanical Equipment
IfcFilterType.STRAINER | Mechanical Equipment
IfcFilterType.WATERFILTER | Mechanical Equipment
IfcFilterType.USERDEFINED | Mechanical Equipment
IfcFilterType.NOTDEFINED | Mechanical Equipment
IfcFooting | #N/A
IfcFurnishingElement | #N/A
IfcFurnitureElementType | Furniture
IfcSystemFurnitureElementType | Furniture Systems
IfcMechanicalFastener | #N/A
IfcMember | #N/A
IfcMemberType.BRACE | Structural Stiffeners
IfcMemberType.CHORD | Structural Framing
IfcMemberType.COLLAR | Structural Connections
IfcMemberType.MEMBER | Structural Framing
IfcMemberType.MULLION | Curtain Wall Mullions
IfcMemberType.PLATE | Structural Connections
IfcMemberType.POST | Structural Columns
IfcMemberType.PURLIN | Structural Framing
IfcMemberType.RAFTER | Structural Trusses
IfcMemberType.STRINGER | Stairs
IfcMemberType.STRUT | Structural Framing
IfcMemberType.STUD | Structural Framing
IfcMemberType.USERDEFINED | Structural Framing
IfcMemberType.NOTDEFINED | Structural Framing
IfcPile | #N/A
IfcPileType.COHESION | Structural Foundations
IfcPileType.FRICTION | Structural Foundations
IfcPileType.SUPPORT | Structural Foundations
IfcPileType.USERDEFINED | Structural Foundations
IfcPileType.NOTDEFINED | Structural Foundations
IfcPlate | #N/A
IfcPlateType.CURTAIN_PANEL | Curtain Panels
IfcPlateType.SHEET | #N/A
IfcPlateType.USERDEFINED | #N/A
IfcPlateType.NOTDEFINED | #N/A
IfcRailing | #N/A
IfcRailingType.HANDRAIL | Railings
IfcRailingType.GUARDRAIL | Railings
IfcRailingType.BALUSTRADE | Railings
IfcRailingType.USERDEFINED | Railings
IfcRailingType.NOTDEFINED | Railings
IfcRamp | Ramps
IfcRampType.STRAIGHT_RUN_RAMP | Ramps
IfcRampType.TWO_STRAIGHT_RUN_RAMP | Ramps
IfcRampType.QUARTER_TURN_RAMP | Ramps
IfcRampType.TWO_QUARTER_TURN_RAMP | Ramps
IfcRampType.HALF_TURN_RAMP | Ramps
IfcRampType.SPIRAL_RAMP | Ramps
IfcRampType.USERDEFINED | Ramps
IfcRampType.NOTDEFINED | Ramps
IfcRampFlight | Ramps
IfcRampFlightType.STRAIGHT | Ramps
IfcRampFlightType.SPIRAL | Ramps
IfcRampFlightType.USERDEFINED | Ramps
IfcRampFlightType.NOTDEFINED | Ramps
IfcReinforcingElement | #N/A
IfcReinforcingBar | #N/A
IfcReinforcingMesh | #N/A
IfcTendonType.BAR | Structural Path Reinforcement
IfcTendonType.COATED | Structural Path Reinforcement
IfcTendonType.STRAND | Structural Path Reinforcement
IfcTendonType.WIRE | Structural Path Reinforcement
IfcTendonType.USERDEFINED | Structural Path Reinforcement
IfcTendonType.NOTDEFINED | Structural Path Reinforcement
IfcTendonAnchor | #N/A
IfcRoof | #N/A
IfcRoofType.FLAT_ROOF | Roofs
IfcRoofType.SHED_ROOF | Roofs
IfcRoofType.GABLE_ROOF | Roofs
IfcRoofType.HIP_ROOF | Roofs
IfcRoofType.HPPED_GABLE_ROOF | Roofs
IfcRoofType.GAMBREL_ROOF | Roofs
IfcRoofType.MANSARD_ROOF | Roofs
IfcRoofType.BARREL_ROOF | Roofs
IfcRoofType.RAINBOW_ROOF | Roofs
IfcRoofType.BUTTERFLY_ROOF | Roofs
IfcRoofType.PAVILION_ROOF | Roofs
IfcRoofType.DOME_ROOF | Roofs
IfcRoofType.FREEFORM | Roofs
IfcRoofType.NOTDEFINED | Roofs
IfcSite | #N/A
IfcSlab | #N/A
IfcSlabType.FLOOR | Floors
IfcSlabType.ROOF | Roofs
IfcSlabType.LANDING | Stairs
IfcSlabType.BASESLAB | Floors
IfcSlabType.USERDEFINED | Floors
IfcSlabType.NOTDEFINED | Floors
IfcStair | #N/A
IfcStairType.STRAIGHT_RUN_STAIR | Stairs
IfcStairType.TWO_STRAIGHT_RUN_STAIR | Stairs
IfcStairType.QUARTER_WINDING_STAIR | Stairs
IfcStairType.QUARTER_TURN_STAIR | Stairs
IfcStairType.HALF_WINDING_STAIR | Stairs
IfcStairType.HALF_TURN_STAIR | Stairs
IfcStairType.TWO_QUARTER_WINDING_STAIR | Stairs
IfcStairType.TWO_QUARTER_TURN_STAIR | Stairs
IfcStairType.THREE_QUARTER_WINDING_STAIR | Stairs
IfcStairType.THREE_QUARTER_TURN_STAIR | Stairs
IfcStairType.SPIRAL_STAIR | Stairs
IfcStairType.DOUBLE_RETURN_STAIR | Stairs
IfcStairType.CURVED_RUN_STAIR | Stairs
IfcStairType.TWO_CURVED_RUN_STAIR | Stairs
IfcStairType.USERDEFINED | Stairs
IfcStairType.NOTDEFINED | Stairs
IfcStairFlight | Stairs
IfcStairFlightType.STRAIGHT | Stairs
IfcStairFlightType.WINDER | Stairs
IfcStairFlightType.SPIRAL | Stairs
IfcStairFlightType.CURVED | Stairs
IfcStairFlightType.FREEFORM | Stairs
IfcStairFlightType.USERDEFINED | Stairs
IfcStairFlightType.NOTDEFINED | Stairs
IfcTransportElement | #N/A
IfcTransportElementType.ELEVATOR | #N/A
IfcTransportElementType.ESCALATOR | #N/A
IfcTransportElementType.MOVINGWALKWAY | #N/A
IfcTransportElementType.USERDEFINED | #N/A
IfcTransportElementType.NOTDEFINED | #N/A
IfcVirtualElement | #N/A
IfcWall | #N/A
IfcWallType.STANDARD | Walls
IfcWallType.POLYGONAL | Walls
IfcWallType.SHEAR | Walls
IfcWallType.ELEMENTEDWALL | Walls
IfcWallType.PLUMBINGWALL | Walls
IfcWallType.USERDEFINED | Walls
IfcWallType.NOTDEFINED | Walls
IfcWindow | #N/A

## IFC4.1
IFC Class (Entity) | Autodesk Revit Category | Archicad | Vectorworks | Eberick | TQS | QiBuilder | DDSCAD
IfcBuildingElement | #N/A
IfcBeam | Structural Framing
IfcBeamType.BEAM | Structural Framing
IfcBeamType.JOIST | Structural Framing
IfcBeamType.HOLLOWCORE | Structural Framing
IfcBeamType.LINTEL | Structural Framing
IfcBeamType.SPANDREL | Structural Framing
IfcBeamType.T_TBEAM | Structural Framing
IfcBeamType.USERDEFINED | Structural Framing
IfcBeamType.NOTDEFINED | Structural Framing
IfcBuildingElementProxy | #N/A
IfcBuildingElementProxyType.COMPLEX | #N/A
IfcBuildingElementProxyType.ELEMENT | #N/A
IfcBuildingElementProxyType.PARTIAL | #N/A
IfcBuildingElementProxyType.PROVISIONFORVOID | #N/A
IfcBuildingElementProxyType.USERDEFINED | #N/A
IfcBuildingElementProxyType.NOTDEFINED | #N/A
IfcChimney | #N/A
IfcChimneyType.USERDEFINED | #N/A
IfcChimneyType.NOTDEFINED | #N/A
IfcColumn | #N/A
IfcColumnType.COLUMN | Structural Columns
IfcColumnType.PILASTER | Columns
IfcColumnType.USERDEFINED | Columns
IfcColumnType.NOTDEFINED | Columns
IfcCovering | #N/A
IfcCoveringType.CEILING | Ceilings
IfcCoveringType.FLOORING | Floors
IfcCoveringType.CLADDING | #N/A
IfcCoveringType.ROOFING | Roofs
IfcCoveringType.MOLDING | #N/A
IfcCoveringType.SKIRTINGBOARD | #N/A
IfcCoveringType.INSULATION | #N/A
IfcCoveringType.MEMBRANE | #N/A
IfcCoveringType.SLEEVING | #N/A
IfcCoveringType.WRAPPING | #N/A
IfcCoveringType.USERDEFINED | #N/A
IfcCoveringType.NOTDEFINED | #N/A
IfcCurtainWall | #N/A
IfcCurtainWallType.USERDEFINED | Walls
IfcCurtainWallType.NOTDEFINED | Walls
IfcDoor | #N/A
IfcDoorType.DOOR | Doors
IfcDoorType.GATE | Doors
IfcDoorType.TRAPDOOR | Doors
IfcDoorType.USERDEFINED | Doors
IfcDoorType.NOTDEFINED | Doors
IfcFooting | #N/A
IfcFootingType.CAISSON_FOUNDATION | Structural Foundations
IfcFootingType.FOOTING_BEAM | Structural Foundations
IfcFootingType.PAD_FOOTING | Structural Foundations
IfcFootingType.PILE_CAP | Structural Foundations
IfcFootingType.STRIP_FOOTING | Structural Foundations
IfcFootingType.USERDEFINED | Structural Foundations
IfcFootingType.NOTDEFINED | Structural Foundations
IfcMember | #N/A
IfcMemberType.BRACE | Structural Stiffeners
IfcMemberType.CHORD | Structural Framing
IfcMemberType.COLLAR | Structural Connections
IfcMemberType.MEMBER | Structural Framing
IfcMemberType.MULLION | Curtain Wall Mullions
IfcMemberType.PLATE | Structural Connections
IfcMemberType.POST | Structural Columns
IfcMemberType.PURLIN | Structural Framing
IfcMemberType.RAFTER | Structural Trusses
IfcMemberType.STRINGER | Stairs
IfcMemberType.STRUT | Structural Framing
IfcMemberType.STUD | Structural Framing
IfcMemberType.USERDEFINED | Structural Framing
IfcMemberType.NOTDEFINED | Structural Framing
IfcPile | #N/A
IfcPileType.BORED | Structural Foundations
IfcPileType.DRIVEN | Structural Foundations
IfcPileType.JETGROUTING | Structural Foundations
IfcPileType.COHESION | Structural Foundations
IfcPileType.FRICTION | Structural Foundations
IfcPileType.SUPPORT | Structural Foundations
IfcPileType.USERDEFINED | Structural Foundations
IfcPileType.NOTDEFINED | Structural Foundations
IfcPlate | #N/A
IfcPlateType.CURTAIN_PANEL | Curtain Panels
IfcPlateType.SHEET | #N/A
IfcPlateType.USERDEFINED | #N/A
IfcPlateType.NOTDEFINED | #N/A
IfcRailing | #N/A
IfcRailingType.HANDRAIL | Railings
IfcRailingType.GUARDRAIL | Railings
IfcRailingType.BALUSTRADE | Railings
IfcRailingType.USERDEFINED | Railings
IfcRailingType.NOTDEFINED | Railings
IfcRamp | #N/A
IfcRampType.STRAIGHT_RUN_RAMP | Ramps
IfcRampType.TWO_STRAIGHT_RUN_RAMP | Ramps
IfcRampType.QUARTER_TURN_RAMP | Ramps
IfcRampType.TWO_QUARTER_TURN_RAMP | Ramps
IfcRampType.HALF_TURN_RAMP | Ramps
IfcRampType.SPIRAL_RAMP | Ramps
IfcRampType.USERDEFINED | Ramps
IfcRampType.NOTDEFINED | Ramps
IfcRampFlight | #N/A
IfcRampFlightType.STRAIGHT | Ramps
IfcRampFlightType.SPIRAL | Ramps
IfcRampFlightType.USERDEFINED | Ramps
IfcRampFlightType.NOTDEFINED | Ramps
IfcRoof | #N/A
IfcRoofType.FLAT_ROOF | Roofs
IfcRoofType.SHED_ROOF | Roofs
IfcRoofType.GABLE_ROOF | Roofs
IfcRoofType.HIP_ROOF | Roofs
IfcRoofType.HPPED_GABLE_ROOF | Roofs
IfcRoofType.GAMBREL_ROOF | Roofs
IfcRoofType.MANSARD_ROOF | Roofs
IfcRoofType.BARREL_ROOF | Roofs
IfcRoofType.RAINBOW_ROOF | Roofs
IfcRoofType.BUTTERFLY_ROOF | Roofs
IfcRoofType.PAVILION_ROOF | Roofs
IfcRoofType.DOME_ROOF | Roofs
IfcRoofType.FREEFORM | Roofs
IfcRoofType.USERDEFINED | Roofs
IfcRoofType.NOTDEFINED | Roofs
IfcShadingDevice | #N/A
IfcShadingDeviceType.JALOUSIE | Roofs
IfcShadingDeviceType.SHUTTER | Windows
IfcShadingDeviceType.AWNING | Roofs
IfcShadingDeviceType.USERDEFINED | Roofs
IfcShadingDeviceType.NOTDEFINED | Roofs
IfcSlab | #N/A
IfcSlabType.FLOOR | Floors
IfcSlabType.ROOF | Roofs
IfcSlabType.LANDING | Stairs
IfcSlabType.BASESLAB | Floors
IfcSlabType.USERDEFINED | Floors
IfcSlabType.NOTDEFINED | Floors
IfcStair | #N/A
IfcStairType.STRAIGHT_RUN_STAIR | Stairs
IfcStairType.TWO_STRAIGHT_RUN_STAIR | Stairs
IfcStairType.QUARTER_WINDING_STAIR | Stairs
IfcStairType.QUARTER_TURN_STAIR | Stairs
IfcStairType.HALF_WINDING_STAIR | Stairs
IfcStairType.HALF_TURN_STAIR | Stairs
IfcStairType.TWO_QUARTER_WINDING_STAIR | Stairs
IfcStairType.TWO_QUARTER_TURN_STAIR | Stairs
IfcStairType.THREE_QUARTER_WINDING_STAIR | Stairs
IfcStairType.THREE_QUARTER_TURN_STAIR | Stairs
IfcStairType.SPIRAL_STAIR | Stairs
IfcStairType.DOUBLE_RETURN_STAIR | Stairs
IfcStairType.CURVED_RUN_STAIR | Stairs
IfcStairType.TWO_CURVED_RUN_STAIR | Stairs
IfcStairType.USERDEFINED | Stairs
IfcStairType.NOTDEFINED | Stairs
IfcStairFlight | #N/A
IfcStairFlightType.STRAIGHT | Stairs
IfcStairFlightType.WINDER | Stairs
IfcStairFlightType.SPIRAL | Stairs
IfcStairFlightType.CURVED | Stairs
IfcStairFlightType.FREEFORM | Stairs
IfcStairFlightType.USERDEFINED | Stairs
IfcStairFlightType.NOTDEFINED | Stairs
IfcWall | #N/A
IfcWallType.MOVABLE | Walls
IfcWallType.PARAPET | Walls
IfcWallType.PARTITIONING | Walls
IfcWallType.PLUMBINGWALL | Walls
IfcWallType.SHEAR | Walls
IfcWallType.SOLIDWALL | Walls
IfcWallType.POLYGONAL | Walls
IfcWallType.USERDEFINED | Walls
IfcWallType.NOTDEFINED | Walls
IfcWindow | #N/A
IfcWindowType.WINDOW | Windows
IfcWindowType.SKYLIGHT | Roofs
IfcWindowType.LIGHTDOME | Windows
IfcWindowType.USERDEFINED | Windows
IfcWindowType.NOTDEFINED | Windows
IfcCivilElement | #N/A
IfcDistributionElement | #N/A
IfcDistributionControlElement | #N/A
IfcActuator | #N/A
IfcActuatorType.ELECTRICACTUATOR | Mechanical Equipment
IfcActuatorType.HANDOPERATEDACTUATOR | Mechanical Equipment
IfcActuatorType.HYDRAULICACTUATOR | Mechanical Equipment
IfcActuatorType.PNEUMATICACTUATOR | Mechanical Equipment
IfcActuatorType.THERMOSTATICACTUATOR | Mechanical Equipment
IfcActuatorType.USERDEFINED | Mechanical Equipment
IfcActuatorType.NOTDEFINED | Mechanical Equipment
IfcAlarm | #N/A
IfcAlarmType.BELL | Fire Alarm Devices
IfcAlarmType.BREAKGLASSBUTTON | Fire Alarm Devices
IfcAlarmType.LIGHT | Fire Alarm Devices
IfcAlarmType.MANUALPULLBOX | Fire Alarm Devices
IfcAlarmType.SIREN | Fire Alarm Devices
IfcAlarmType.WHISTLE | Fire Alarm Devices
IfcAlarmType.USERDEFINED | Fire Alarm Devices
IfcAlarmType.NOTDEFINED | Fire Alarm Devices
IfcController | #N/A
IfcControllerType.FLOATING | Electrical Equipment
IfcControllerType.PROGRAMMABLE | Electrical Equipment
IfcControllerType.PROPORTIONAL | Electrical Equipment
IfcControllerType.MULTIPOSITION | Electrical Equipment
IfcControllerType.TWOPOSITION | Electrical Equipment
IfcControllerType.USERDEFINED | Electrical Equipment
IfcControllerType.NOTDEFINED | Electrical Equipment
IfcFlowInstrument | #N/A
IfcFlowInstrumentType.PRESSUREGAUGE | Pipe Accessories
IfcFlowInstrumentType.THERMOMETER | Mechanical Equipment
IfcFlowInstrumentType.AMMETER | Electrical Equipment
IfcFlowInstrumentType.FREQUENCYMETER | Electrical Equipment
IfcFlowInstrumentType.POWERFACTORMETER | Electrical Equipment
IfcFlowInstrumentType.PHASEANGLEMETER | Electrical Equipment
IfcFlowInstrumentType.VOLTMETER_PEAK | Electrical Equipment
IfcFlowInstrumentType.VOLTMETER_RMS | Electrical Equipment
IfcFlowInstrumentType.USERDEFINED | Electrical Equipment
IfcFlowInstrumentType.NOTDEFINED | Electrical Equipment
IfcProtectiveDeviceTrippingUnit | #N/A
IfcProtectiveDeviceTrippingUnitType.ELECTRONIC | Electrical Equipment
IfcProtectiveDeviceTrippingUnitType.ELECTROMAGNETIC | Electrical Equipment
IfcProtectiveDeviceTrippingUnitType.RESIDUALCURRENT | Electrical Equipment
IfcProtectiveDeviceTrippingUnitType.THERMAL | Electrical Equipment
IfcProtectiveDeviceTrippingUnitType.USERDEFINED | Electrical Equipment
IfcProtectiveDeviceTrippingUnitType.NOTDEFINED | Electrical Equipment
IfcSensor | #N/A
IfcSensorType.IONCONCENTRATIONSENSOR | Specialty Equipment
IfcSensorType.LEVELSENSOR | Specialty Equipment
IfcSensorType.LIGHTSENSOR | Lighting Devices
IfcSensorType.MOISTURESENSOR | Specialty Equipment
IfcSensorType.MOVEMENTSENSOR | Security Devices
IfcSensorType.PHSENSOR | Specialty Equipment
IfcSensorType.PRESSURESENSOR | Fire Alarm Devices
IfcSensorType.RADIATIONSENSOR | Specialty Equipment
IfcSensorType.RADIOACTIVITYSENSOR | Specialty Equipment
IfcSensorType.SMOKESENSOR | Fire Alarm Devices
IfcSensorType.SOUNDSENSOR | Electrical Equipment
IfcSensorType.TEMPERATURESENSOR | Mechanical Equipment
IfcSensorType.WINDSENSOR | Electrical Equipment
IfcSensorType.USERDEFINED | Electrical Equipment
IfcSensorType.NOTDEFINED | Electrical Equipment
IfcUnitaryControlElement | #N/A
IfcUnitaryControlElementType.ALARMPANEL | Electrical Equipment
IfcUnitaryControlElementType.CONTROLPANEL | Electrical Equipment
IfcUnitaryControlElementType.GASDETECTIONPANEL | Electrical Equipment
IfcUnitaryControlElementType.INDICATORPANEL | Electrical Equipment
IfcUnitaryControlElementType.MIMICPANEL | Electrical Equipment
IfcUnitaryControlElementType.HUMIDSTAT | Mechanical Equipment
IfcUnitaryControlElementType.THERMOSTAT | Mechanical Equipment
IfcUnitaryControlElementType.WEATHERSTATION | Specialty Equipment
IfcUnitaryControlElementType.USERDEFINED | Electrical Equipment
IfcUnitaryControlElementType.NOTDEFINED | Electrical Equipment
IfcDistributionFlowElement | #N/A
IfcDistributionChamberElement | #N/A
IfcDistributionChamberElementType.FORMEDDUCT | #N/A
IfcDistributionChamberElementType.INSPECTIONCHAMBER | #N/A
IfcDistributionChamberElementType.INSPECTIONPIT | #N/A
IfcDistributionChamberElementType.MANHOLE | #N/A
IfcDistributionChamberElementType.METERCHAMBER | #N/A
IfcDistributionChamberElementType.SUMP | #N/A
IfcDistributionChamberElementType.TRENCH | #N/A
IfcDistributionChamberElementType.VALVECHAMBER | #N/A
IfcDistributionChamberElementType.USERDEFINED | #N/A
IfcDistributionChamberElementType.NOTDEFINED | #N/A
IfcEnergyConversionDevice | #N/A
IfcAirToAirHeatRecovery | #N/A
IfcAirToAirHeatRecoveryType.FIXEDPLATECOUNTERFLOWEXCHANGER | Mechanical Equipment
IfcAirToAirHeatRecoveryType.FIXEDPLATECROSSFLOWEXCHANGER | Mechanical Equipment
IfcAirToAirHeatRecoveryType.FIXEDPLATEPARALLELFLOWEXCHANGER | Mechanical Equipment
IfcAirToAirHeatRecoveryType.ROTARYWHEEL | Mechanical Equipment
IfcAirToAirHeatRecoveryType.RUNAROUNDCOILLOOP | Mechanical Equipment
IfcAirToAirHeatRecoveryType.HEATPIPE | Mechanical Equipment
IfcAirToAirHeatRecoveryType.TWINTOWERENTHALPYRECOVERYLOOPS | Mechanical Equipment
IfcAirToAirHeatRecoveryType.THERMOSIPHONSEALEDTUBEHEATEXCHANGERS | Mechanical Equipment
IfcAirToAirHeatRecoveryType.THERMOSIPHONCOILTYPEHEATEXCHANGERS | Mechanical Equipment
IfcAirToAirHeatRecoveryType.USERDEFINED | Mechanical Equipment
IfcAirToAirHeatRecoveryType.NOTDEFINED | Mechanical Equipment
IfcBoiler | #N/A
IfcBoilerType.WATER | Mechanical Equipment
IfcBoilerType.STEAM | Mechanical Equipment
IfcBoilerType.USERDEFINED | Mechanical Equipment
IfcBoilerType.NOTDEFINED | Mechanical Equipment
IfcBurner | #N/A
IfcBurnerType.USERDEFINED | Mechanical Equipment
IfcBurnerType.NOTDEFINED | Mechanical Equipment
IfcChiller | #N/A
IfcChillerType.AIRCOOLED | Mechanical Equipment
IfcChillerType.WATERCOOLED | Mechanical Equipment
IfcChillerType.HEATRECOVERY | Mechanical Equipment
IfcChillerType.USERDEFINED | Mechanical Equipment
IfcChillerType.NOTDEFINED | Mechanical Equipment
IfcCoil | #N/A
IfcCoilType.DXCOOLINGCOIL | Mechanical Equipment
IfcCoilType.ELECTRICHEATINGCOIL | Mechanical Equipment
IfcCoilType.GASHEATINGCOIL | Mechanical Equipment
IfcCoilType.HYDRONICCOIL | Mechanical Equipment
IfcCoilType.STEAMHEATINGCOIL | Mechanical Equipment
IfcCoilType.WATERCOOLINGCOIL | Mechanical Equipment
IfcCoilType.WATERHEATINGCOIL | Mechanical Equipment
IfcCoilType.USERDEFINED | Mechanical Equipment
IfcCoilType.NOTDEFINED | Mechanical Equipment
IfcCondenser | #N/A
IfcCondenserType.AIRCOOLED | Mechanical Equipment
IfcCondenserType.EVAPORATIVECOOLED | Mechanical Equipment
IfcCondenserType.WATERCOOLED | Mechanical Equipment
IfcCondenserType.WATERCOOLEDBRAZEDPLATE | Mechanical Equipment
IfcCondenserType.WATERCOOLEDSHELLCOIL | Mechanical Equipment
IfcCondenserType.WATERCOOLEDSHELLTUBE | Mechanical Equipment
IfcCondenserType.WATERCOOLEDTUBEINTUBE | Mechanical Equipment
IfcCondenserType.USERDEFINED | Mechanical Equipment
IfcCondenserType.NOTDEFINED | Mechanical Equipment
IfcCooledBeam | #N/A
IfcCooledBeamType.ACTIVE | Mechanical Equipment
IfcCooledBeamType.PASSIVE | Mechanical Equipment
IfcCooledBeamType.USERDEFINED | Mechanical Equipment
IfcCooledBeamType.NOTDEFINED | Mechanical Equipment
IfcCoolingTower | #N/A
IfcCoolingTowerType.NATURALDRAFT | Mechanical Equipment
IfcCoolingTowerType.MECHANICALINDUCEDDRAFT | Mechanical Equipment
IfcCoolingTowerType.MECHANICALFORCEDDRAFT | Mechanical Equipment
IfcCoolingTowerType.USERDEFINED | Mechanical Equipment
IfcCoolingTowerType.NOTDEFINED | Mechanical Equipment
IfcElectricGenerator | #N/A
IfcElectricGeneratorType.CHP | Electrical Equipment
IfcElectricGeneratorType.ENGINEGENERATOR | Electrical Equipment
IfcElectricGeneratorType.STANDALONE | Electrical Equipment
IfcElectricGeneratorType.USERDEFINED | Electrical Equipment
IfcElectricGeneratorType.NOTDEFINED | Electrical Equipment
IfcElectricMotor | #N/A
IfcElectricMotorType.DC | Electrical Equipment
IfcElectricMotorType.INDUCTION | Electrical Equipment
IfcElectricMotorType.POLYPHASE | Electrical Equipment
IfcElectricMotorType.RELUCTANCESYNCHRONOUS | Electrical Equipment
IfcElectricMotorType.SYNCHRONOUS | Electrical Equipment
IfcElectricMotorType.USERDEFINED | Electrical Equipment
IfcElectricMotorType.NOTDEFINED | Electrical Equipment
IfcEngine | #N/A
IfcEngineType.EXTERNALCOMBUSTION | Mechanical Equipment
IfcEngineType.INTERNALCOMBUSTION | Mechanical Equipment
IfcEngineType.USEREFINED | Mechanical Equipment
IfcEngineType.NOTDEFINED | Mechanical Equipment
IfcEvaporativeCooler | #N/A
IfcEvaporativeCoolerType.DIRECTEVAPORATIVERANDOMMEDIAAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVERIGIDMEDIAAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVESLINGERSPACKAGEDAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVEPACKAGEDROTARYAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.DIRECTEVAPORATIVEAIRWASHER | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTEVAPORATIVEPACKAGEAIRCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTEVAPORATIVEWETCOIL | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTEVAPORATIVECOOLINGTOWERORCOILCOOLER | Mechanical Equipment
IfcEvaporativeCoolerType.INDIRECTDIRECTCOMBINATION | Mechanical Equipment
IfcEvaporativeCoolerType.USERDEFINED | Mechanical Equipment
IfcEvaporativeCoolerType.NOTDEFINED | Mechanical Equipment
IfcEvaporator | #N/A
IfcEvaporatorType.DIRECTEXPANSION | Mechanical Equipment
IfcEvaporatorType.DIRECTEXPANSIONSHELLANDTUBE | Mechanical Equipment
IfcEvaporatorType.DIRECTEXPANSIONTUBEINTUBE | Mechanical Equipment
IfcEvaporatorType.DIRECTEXPANSIONBRAZEDPLATE | Mechanical Equipment
IfcEvaporatorType.FLOODEDSHELLANDTUBE | Mechanical Equipment
IfcEvaporatorType.SHELLANDCOIL | Mechanical Equipment
IfcEvaporatorType.USERDEFINED | Mechanical Equipment
IfcEvaporatorType.NOTDEFINED | Mechanical Equipment
IfcHeatExchanger | #N/A
IfcHeatExchangerType.PLATE | Mechanical Equipment
IfcHeatExchangerType.SHELLANDTUBE | Mechanical Equipment
IfcHeatExchangerType.USERDEFINED | Mechanical Equipment
IfcHeatExchangerType.NOTDEFINED | Mechanical Equipment
IfcHumidifier | #N/A
IfcHumidifierType.STEAMINJECTION | Mechanical Equipment
IfcHumidifierType.ADIABATICAIRWASHER | Mechanical Equipment
IfcHumidifierType.ADIABATICPAN | Mechanical Equipment
IfcHumidifierType.ADIABATICWETTEDELEMENT | Mechanical Equipment
IfcHumidifierType.ADIABATICATOMIZING | Mechanical Equipment
IfcHumidifierType.ADIABATICULTRASONIC | Mechanical Equipment
IfcHumidifierType.ADIABATICRIGIDMEDIA | Mechanical Equipment
IfcHumidifierType.ADIABATICCOMPRESSEDAIRNOZZLE | Mechanical Equipment
IfcHumidifierType.ASSISTEDELECTRIC | Mechanical Equipment
IfcHumidifierType.ASSISTEDNATURALGAS | Mechanical Equipment
IfcHumidifierType.ASSISTEDPROPANE | Mechanical Equipment
IfcHumidifierType.ASSISTEDBUTANE | Mechanical Equipment
IfcHumidifierType.ASSISTEDSTEAM | Mechanical Equipment
IfcHumidifierType.USERDEFINED | Mechanical Equipment
IfcHumidifierType.NOTDEFINED | Mechanical Equipment
IfcMotorConnection | #N/A
IfcMotorConnectionType.BELTDRIVE | Electrical Fixtures
IfcMotorConnectionType.COUPLING | Electrical Fixtures
IfcMotorConnectionType.DIRECTDRIVE | Electrical Fixtures
IfcMotorConnectionType.USERDEFINED | Electrical Fixtures
IfcMotorConnectionType.NOTDEFINED | Electrical Fixtures
IfcSolarDevice | #N/A
IfcSolarDeviceType.SOLARCOLLECTOR | Specialty Equipment
IfcSolarDeviceType.SOLARPANEL | Specialty Equipment
IfcSolarDeviceType.USERDEFINED | Specialty Equipment
IfcSolarDeviceType.NOTDEFINED | Specialty Equipment
IfcTransformer | #N/A
IfcTransformerType.CURRENT | Electrical Equipment
IfcTransformerType.FREQUENCY | Electrical Equipment
IfcTransformerType.INVERTER | Electrical Equipment
IfcTransformerType.RECTIFIER | Electrical Equipment
IfcTransformerType.VOLTAGE | Electrical Equipment
IfcTransformerType.USERDEFINED | Electrical Equipment
IfcTransformerType.NOTDEFINED | Electrical Equipment
IfcTubeBundle | #N/A
IfcTubeBundleType.FINNED | Mechanical Equipment
IfcTubeBundleType.USERDEFINED | Mechanical Equipment
IfcTubeBundleType.NOTDEFINED | Mechanical Equipment
IfcUnitaryEquipment | #N/A
IfcUnitaryEquipmentType.AIRHANDLER | Mechanical Equipment
IfcUnitaryEquipmentType.AIRCONDITIONINGUNIT | Mechanical Equipment
IfcUnitaryEquipmentType.DEHUMIDIFIER | Mechanical Equipment
IfcUnitaryEquipmentType.SPLITSYSTEM | Mechanical Equipment
IfcUnitaryEquipmentType.ROOFTOPUNIT | Mechanical Equipment
IfcUnitaryEquipmentType.USERDEFINED | Mechanical Equipment
IfcUnitaryEquipmentType.NOTDEFINED | Mechanical Equipment
IfcFlowController | #N/A
IfcAirTerminalBox | #N/A
IfcAirTerminalBoxType.CONSTANTFLOW | Mechanical Equipment
IfcAirTerminalBoxType.VARIABLEFLOWPRESSUREDEPENDANT | Mechanical Equipment
IfcAirTerminalBoxType.VARIABLEFLOWPRESSUREINDEPENDANT | Mechanical Equipment
IfcAirTerminalBoxType.USERDEFINED | Mechanical Equipment
IfcAirTerminalBoxType.NOTDEFINED | Mechanical Equipment
IfcDamper | #N/A
IfcDamperType.BACKDRAFTDAMPER | Duct Accessories
IfcDamperType.BALANCINGDAMPER | Duct Accessories
IfcDamperType.BLASTDAMPER | Duct Accessories
IfcDamperType.CONTROLDAMPER | Duct Accessories
IfcDamperType.FIREDAMPER | Duct Accessories
IfcDamperType.FIRESMOKEDAMPER | Duct Accessories
IfcDamperType.FUMEHOODEXHAUST | Duct Accessories
IfcDamperType.GRAVITYDAMPER | Duct Accessories
IfcDamperType.GRAVITYRELIEFDAMPER | Duct Accessories
IfcDamperType.RELIEFDAMPER | Duct Accessories
IfcDamperType.SMOKEDAMPER | Duct Accessories
IfcDamperType.USERDEFINED | Duct Accessories
IfcDamperType.NOTDEFINED | Duct Accessories
IfcElectricDistributionBoard | #N/A
IfcElectricDistributionBoardType.CONSUMERUNIT | Electrical Equipment
IfcElectricDistributionBoardType.DISTRIBUTIONBOARD | Electrical Equipment
IfcElectricDistributionBoardType.MOTORCONTROLCENTRE | Electrical Equipment
IfcElectricDistributionBoardType.SWITCHBOARD | Electrical Equipment
IfcElectricDistributionBoardType.USERDEFINED | Electrical Equipment
IfcElectricDistributionBoardType.NOTDEFINED | Electrical Equipment
IfcElectricTimeControl | #N/A
IfcElectricTimeControlType.TIMECLOCK | Communication Devices
IfcElectricTimeControlType.TIMEDELAY | Communication Devices
IfcElectricTimeControlType.RELAY | Communication Devices
IfcElectricTimeControlType.USERDEFINED | Communication Devices
IfcElectricTimeControlType.NOTDEFINED | Communication Devices
IfcFlowMeter | #N/A
IfcFlowMeterType.ENERGYMETER | Electrical Equipment
IfcFlowMeterType.GASMETER | Pipe Accessories
IfcFlowMeterType.OILMETER | Pipe Accessories
IfcFlowMeterType.WATERMETER | Pipe Accessories
IfcFlowMeterType.USERDEFINED | Pipe Accessories
IfcFlowMeterType.NOTDEFINED | Pipe Accessories
IfcProtectiveDevice | #N/A
IfcProtectiveDeviceType.CIRCUITBREAKER | Electrical Equipment
IfcProtectiveDeviceType.EARTHLEAKAGECIRCUITBREAKER | Electrical Equipment
IfcProtectiveDeviceType.EARTHINGSWITCH | Electrical Equipment
IfcProtectiveDeviceType.FUSEDISCONNECTOR | Electrical Equipment
IfcProtectiveDeviceType.RESIDUALCURRENTCIRCUITBREAKER | Electrical Equipment
IfcProtectiveDeviceType.RESIDUALCURRENTSWITCH | Electrical Equipment
IfcProtectiveDeviceType.VARISTOR | Electrical Equipment
IfcProtectiveDeviceType.USERDEFINED | Electrical Equipment
IfcProtectiveDeviceType.NOTDEFINED | Electrical Equipment
IfcSwitchingDevice | #N/A
IfcSwitchingDeviceType.CONTACTOR | Electrical Fixtures
IfcSwitchingDeviceType.DIMMERSWITCH | Lighting Devices
IfcSwitchingDeviceType.EMERGENCYSTOP | Electrical Fixtures
IfcSwitchingDeviceType.KEYPAD | Security Devices
IfcSwitchingDeviceType.MOMENTARYSWITCH | Electrical Fixtures
IfcSwitchingDeviceType.SELECTORSWITCH | Electrical Fixtures
IfcSwitchingDeviceType.STARTER | Electrical Fixtures
IfcSwitchingDeviceType.SWITCHDISCONNECTOR | Electrical Fixtures
IfcSwitchingDeviceType.TOGGLESWITCH | Electrical Fixtures
IfcSwitchingDeviceType.USERDEFINED | Electrical Fixtures
IfcSwitchingDeviceType.NOTDEFINED | Electrical Fixtures
IfcValve | #N/A
IfcValveType.AIRRELEASE | Pipe Accessories
IfcValveType.ANTIVACUUM | Pipe Accessories
IfcValveType.CHANGEOVER | Pipe Accessories
IfcValveType.CHECK | Pipe Accessories
IfcValveType.COMMISSIONING | Pipe Accessories
IfcValveType.DIVERTING | Pipe Accessories
IfcValveType.DRAWOFFCOCK | Pipe Accessories
IfcValveType.DOUBLECHECK | Pipe Accessories
IfcValveType.DOUBLEREGULATING | Pipe Accessories
IfcValveType.FAUCET | Pipe Accessories
IfcValveType.FLUSHING | Pipe Accessories
IfcValveType.GASCOCK | Pipe Accessories
IfcValveType.GASTAP | Pipe Accessories
IfcValveType.ISOLATING | Pipe Accessories
IfcValveType.MIXING | Pipe Accessories
IfcValveType.PRESSUREREDUCING | Pipe Accessories
IfcValveType.PRESSURERELIEF | Pipe Accessories
IfcValveType.REGULATING | Pipe Accessories
IfcValveType.SAFETYCUTOFF | Pipe Accessories
IfcValveType.STEAMTRAP | Pipe Accessories
IfcValveType.STOPCOCK | Pipe Accessories
IfcValveType.USERDEFINED | Pipe Accessories
IfcValveType.NOTDEFINED | Pipe Accessories
IfcFlowFitting | #N/A
IfcCableCarrierFitting | #N/A
IfcCableCarrierFittingType.BEND | Cable Tray Fittings
IfcCableCarrierFittingType.CROSS | Cable Tray Fittings
IfcCableCarrierFittingType.REDUCER | Cable Tray Fittings
IfcCableCarrierFittingType.TEE | Cable Tray Fittings
IfcCableCarrierFittingType.USERDEFINED | Cable Tray Fittings
IfcCableCarrierFittingType.NOTDEFINED | Cable Tray Fittings
IfcCableFitting | #N/A
IfcCableFittingType.BEND | Conduit Fittings
IfcCableFittingType.CROSS | Conduit Fittings
IfcCableFittingType.REDUCER | Conduit Fittings
IfcCableFittingType.TEE | Conduit Fittings
IfcCableFittingType.USERDEFINED | Conduit Fittings
IfcCableFittingType.NOTDEFINED | Conduit Fittings
IfcDuctFitting | #N/A
IfcDuctFittingType.BEND | Duct Fittings
IfcDuctFittingType.CONNECTOR | Duct Fittings
IfcDuctFittingType.ENTRY | Duct Fittings
IfcDuctFittingType.EXIT | Duct Fittings
IfcDuctFittingType.JUNCTION | Duct Fittings
IfcDuctFittingType.OBSTRUCTION | Duct Fittings
IfcDuctFittingType.TRANSITION | Duct Fittings
IfcDuctFittingType.USERDEFINED | Duct Fittings
IfcDuctFittingType.NOTDEFINED | Duct Fittings
IfcJunctionBox | #N/A
IfcJunctionBoxType.DATA | Electrical Fixtures
IfcJunctionBoxType.POWER | Electrical Fixtures
IfcJunctionBoxType.USERDEFINED | Electrical Fixtures
IfcJunctionBoxType.NOTDEFINED | Electrical Fixtures
IfcPipeFitting | #N/A
IfcPipeFittingType.BEND | Pipe Fittings
IfcPipeFittingType.CONNECTOR | Pipe Fittings
IfcPipeFittingType.ENTRY | Pipe Fittings
IfcPipeFittingType.EXIT | Pipe Fittings
IfcPipeFittingType.JUNCTION | Pipe Fittings
IfcPipeFittingType.OBSTRUCTION | Pipe Fittings
IfcPipeFittingType.TRANSITION | Pipe Fittings
IfcPipeFittingType.USERDEFINED | Pipe Fittings
IfcPipeFittingType.NOTDEFINED | Pipe Fittings
IfcFlowMovingDevice | #N/A
IfcCompressor | #N/A
IfcCompressorType.DYNAMIC | Mechanical Equipment
IfcCompressorType.RECIPROCATING | Mechanical Equipment
IfcCompressorType.ROTARY | Mechanical Equipment
IfcCompressorType.SCROLL | Mechanical Equipment
IfcCompressorType.TROCHOIDAL | Mechanical Equipment
IfcCompressorType.SINGLESTAGE | Mechanical Equipment
IfcCompressorType.BOOSTER | Mechanical Equipment
IfcCompressorType.OPENTYPE | Mechanical Equipment
IfcCompressorType.HERMETIC | Mechanical Equipment
IfcCompressorType.SEMIHERMETIC | Mechanical Equipment
IfcCompressorType.WELDEDSHELLHERMETIC | Mechanical Equipment
IfcCompressorType.ROLLINGPISTON | Mechanical Equipment
IfcCompressorType.ROTARYVANE | Mechanical Equipment
IfcCompressorType.SINGLESCREW | Mechanical Equipment
IfcCompressorType.TWINSCREW | Mechanical Equipment
IfcCompressorType.USERDEFINED | Mechanical Equipment
IfcCompressorType.NOTDEFINED | Mechanical Equipment
IfcFan | #N/A
IfcFanType.CENTRIFUGALFORWARDCURVED | Mechanical Equipment
IfcFanType.CENTRIFUGALRADIAL | Mechanical Equipment
IfcFanType.CENTRIFUGALBACKWARDINCLINEDCURVED | Mechanical Equipment
IfcFanType.CENTRIFUGALAIRFOIL | Mechanical Equipment
IfcFanType.TUBEAXIAL | Mechanical Equipment
IfcFanType.VANEAXIAL | Mechanical Equipment
IfcFanType.PROPELLORAXIAL | Mechanical Equipment
IfcFanType.USERDEFINED | Mechanical Equipment
IfcFanType.NOTDEFINED | Mechanical Equipment
IfcPump | #N/A
IfcPumpType.CIRCULATOR | Mechanical Equipment
IfcPumpType.ENDSUCTION | Mechanical Equipment
IfcPumpType.SPLITCASE | Mechanical Equipment
IfcPumpType.SUBMERSIBLEPUMP | Mechanical Equipment
IfcPumpType.SUMPPUMP | Mechanical Equipment
IfcPumpType.VERTICALINLINE | Mechanical Equipment
IfcPumpType.VERTICALTURBINE | Mechanical Equipment
IfcPumpType.USERDEFINED | Mechanical Equipment
IfcPumpType.NOTDEFINED | Mechanical Equipment
IfcFlowSegment | #N/A
IfcCableCarrierSegment | #N/A
IfcCableCarrierSegmentType.CABLELADDERSEGMENT | Cable Trays
IfcCableCarrierSegmentType.CABLETRAYSEGMENT | Cable Trays
IfcCableCarrierSegmentType.CABLETRUNKINGSEGMENT | Cable Trays
IfcCableCarrierSegmentType.CONDUITSEGMENT | Cable Trays
IfcCableCarrierSegmentType.USERDEFINED | Cable Trays
IfcCableCarrierSegmentType.NOTDEFINED | Cable Trays
IfcCableSegment | #N/A
IfcCableSegmentType.BUSBARSEGMENT | Conduits
IfcCableSegmentType.CABLESEGMENT | Conduits
IfcCableSegmentType.CONDUCTORSEGMENT | Conduits
IfcCableSegmentType.CORESEGMENT | Conduits
IfcCableSegmentType.USERDEFINED | Conduits
IfcCableSegmentType.NOTDEFINED | Conduits
IfcDuctSegment | #N/A
IfcDuctSegmentType.RIGIDSEGMENT | Ducts
IfcDuctSegmentType.FLEXIBLESEGMENT | Ducts
IfcDuctSegmentType.USERDEFINED | Ducts
IfcDuctSegmentType.NOTDEFINED | Ducts
IfcPipeSegment | #N/A
IfcPipeSegmentType.CULVERT | Pipes
IfcPipeSegmentType.FLEXIBLESEGMENT | Pipes
IfcPipeSegmentType.RIGIDSEGMENT | Pipes
IfcPipeSegmentType.GUTTER | Pipes
IfcPipeSegmentType.SPOOL | Pipes
IfcPipeSegmentType.USERDEFINED | Pipes
IfcPipeSegmentType.NOTDEFINED | Pipes
IfcFlowStorageDevice | #N/A
IfcElectricFlowStorageDevice | #N/A
IfcElectricFlowStorageDeviceType.BATTERY | Electrical Equipment
IfcElectricFlowStorageDeviceType.CAPACITORBANK | Electrical Equipment
IfcElectricFlowStorageDeviceType.HARMONICFILTER | Electrical Equipment
IfcElectricFlowStorageDeviceType.INDUCTORBANK | Electrical Equipment
IfcElectricFlowStorageDeviceType.UPS | Electrical Equipment
IfcElectricFlowStorageDeviceType.USERDEFINED | Electrical Equipment
IfcElectricFlowStorageDeviceType.NOTDEFINED | Electrical Equipment
IfcTank | #N/A
IfcTankType.BASIN | Mechanical Equipment
IfcTankType.BREAKPRESSURE | Mechanical Equipment
IfcTankType.EXPANSION | Mechanical Equipment
IfcTankType.FEEDANDEXPANSION | Mechanical Equipment
IfcTankType.PRESSUREVESSEL | Mechanical Equipment
IfcTankType.STORAGE | Mechanical Equipment
IfcTankType.VESSEL | Mechanical Equipment
IfcTankType.USERDEFINED | Mechanical Equipment
IfcTankType.NOTDEFINED | Mechanical Equipment
IfcFlowTerminal | #N/A
IfcAirTerminal | #N/A
IfcAirTerminalType.ELECTRICACTUATOR | Air Terminals
IfcAirTerminalType.HANDOPERATEDACTUATOR | Air Terminals
IfcAirTerminalType.HYDRAULICACTUATOR | Air Terminals
IfcAirTerminalType.PNEUMATICACTUATOR | Air Terminals
IfcAirTerminalType.THERMOSTATICACTUATOR | Air Terminals
IfcAirTerminalType.USERDEFINED | Air Terminals
IfcAirTerminalType.NOTDEFINED | Air Terminals
IfcAudioVisualAppliance | #N/A
IfcAudioVisualApplianceType.AMPLIFIER | Communication Devices
IfcAudioVisualApplianceType.CAMERA | Communication Devices
IfcAudioVisualApplianceType.DISPLAY | Communication Devices
IfcAudioVisualApplianceType.MICROPHONE | Communication Devices
IfcAudioVisualApplianceType.PLAYER | Communication Devices
IfcAudioVisualApplianceType.PROJECTOR | Communication Devices
IfcAudioVisualApplianceType.RECEIVER | Communication Devices
IfcAudioVisualApplianceType.SPEAKER | Communication Devices
IfcAudioVisualApplianceType.SWITCHER | Communication Devices
IfcAudioVisualApplianceType.TELEPHONE | Communication Devices
IfcAudioVisualApplianceType.TUNER | Communication Devices
IfcAudioVisualApplianceType.USERDEFINED | Communication Devices
IfcAudioVisualApplianceType.NOTDEFINED | Communication Devices
IfcCommunicationsAppliance | #N/A
IfcCommunicationsApplianceType.ANTANNA | Data Devices
IfcCommunicationsApplianceType.COMPUTER | Data Devices
IfcCommunicationsApplianceType.FAX | Data Devices
IfcCommunicationsApplianceType.GATEWAY | Data Devices
IfcCommunicationsApplianceType.MODEM | Data Devices
IfcCommunicationsApplianceType.NETWORKAPPLIANCE | Data Devices
IfcCommunicationsApplianceType.NETWORKBRIDGE | Data Devices
IfcCommunicationsApplianceType.NETWORKHUB | Data Devices
IfcCommunicationsApplianceType.PRINTER | Data Devices
IfcCommunicationsApplianceType.REPEATER | Data Devices
IfcCommunicationsApplianceType.ROUTER | Data Devices
IfcCommunicationsApplianceType.SCANNER | Data Devices
IfcCommunicationsApplianceType.USERDEFINED | Data Devices
IfcCommunicationsApplianceType.NOTDEFINED | Data Devices
IfcElectricAppliance | #N/A
IfcElectricApplianceType.DISHWASHER | Specialty Equipment
IfcElectricApplianceType.ELECTRICCOOKER | Specialty Equipment
IfcElectricApplianceType.FREESTANDINGELECTRICHEATER | Specialty Equipment
IfcElectricApplianceType.FREESTANDINGFAN | Specialty Equipment
IfcElectricApplianceType.FREESTANDINGWATERHEATER | Specialty Equipment
IfcElectricApplianceType.FREESTANDINGWATERCOOLER | Specialty Equipment
IfcElectricApplianceType.FREEZER | Specialty Equipment
IfcElectricApplianceType.FRIDGE_FREEZER | Specialty Equipment
IfcElectricApplianceType.HANDDRYER | Specialty Equipment
IfcElectricApplianceType.KITCHENMACHINE | Specialty Equipment
IfcElectricApplianceType.MICROWAVE | Specialty Equipment
IfcElectricApplianceType.PHOTOCOPIER | Specialty Equipment
IfcElectricApplianceType.REFRIGERATOR | Specialty Equipment
IfcElectricApplianceType.TUMBLEDRYER | Specialty Equipment
IfcElectricApplianceType.VENDINGMACHINE | Specialty Equipment
IfcElectricApplianceType.WASHINGMACHINE | Specialty Equipment
IfcElectricApplianceType.USERDEFINED | Specialty Equipment
IfcElectricApplianceType.NOTDEFINED | Specialty Equipment
IfcFireSuppressionTerminal | #N/A
IfcFireSuppressionTerminalType.BREECHINGINLET | Pipe Accessories
IfcFireSuppressionTerminalType.FIREHYDRANT | Pipe Fittings
IfcFireSuppressionTerminalType.HOSEREEL | Pipe Fittings
IfcFireSuppressionTerminalType.SPRINKLER | Sprinklers
IfcFireSuppressionTerminalType.SPRINKLERDEFLECTOR | Sprinklers
IfcFireSuppressionTerminalType.USERDEFINED | Pipe Accessories
IfcFireSuppressionTerminalType.NOTDEFINED | Pipe Accessories
IfcLamp | #N/A
IfcLampType.COMPACTFLUORESCENT | Lighting Fixtures
IfcLampType.FLUORESCENT | Lighting Fixtures
IfcLampType.HALOGEN | Lighting Fixtures
IfcLampType.HIGHPRESSUREMERCURY | Lighting Fixtures
IfcLampType.HIGHPRESSURESODIUM | Lighting Fixtures
IfcLampType.LED | Lighting Fixtures
IfcLampType.METALHALIDE | Lighting Fixtures
IfcLampType.OLED | Lighting Fixtures
IfcLampType.TUNGSTENFILAMENT | Lighting Fixtures
IfcLampType.USERDEFINED | Lighting Fixtures
IfcLampType.NOTDEFINED | Lighting Fixtures
IfcLightFixture | #N/A
IfcLightFixtureType.POINTSOURCE | Lighting Fixtures
IfcLightFixtureType.DIRECTIONSOURCE | Lighting Fixtures
IfcLightFixtureType.SECURITYLIGHTING | Lighting Fixtures
IfcLightFixtureType.USERDEFINED | Lighting Fixtures
IfcLightFixtureType.NOTDEFINED | Lighting Fixtures
IfcMedicalDevice | #N/A
IfcMedicalDeviceType.AIRSTATION | Specialty Equipment
IfcMedicalDeviceType.FEEDAIRUNTI | Specialty Equipment
IfcMedicalDeviceType.OXYGENGENERATOR | Specialty Equipment
IfcMedicalDeviceType.OXYGENPLANT | Specialty Equipment
IfcMedicalDeviceType.VACUUMSTATION | Specialty Equipment
IfcMedicalDeviceType.USERDEFINED | Specialty Equipment
IfcMedicalDeviceType.NOTDEFINED | Specialty Equipment
IfcOutlet | #N/A
IfcOutletType.AUDIOVISUALOUTLET | Communication Devices
IfcOutletType.COMMUNICATIONSOUTLET | Communication Devices
IfcOutletType.POWEROUTLET | Electrical Fixtures
IfcOutletType.DATAOUTLET | Data Devices
IfcOutletType.TELEPHONEOUTLET | Telephone Devices
IfcOutletType.USERDEFINED | Electrical Fixtures
IfcOutletType.NOTDEFINED | Electrical Fixtures
IfcSanitaryTerminal | #N/A
IfcSanitaryTerminalType.BATH | Plumbing Fixtures
IfcSanitaryTerminalType.BIDET | Plumbing Fixtures
IfcSanitaryTerminalType.CISTERN | Plumbing Fixtures
IfcSanitaryTerminalType.SHOWER | Plumbing Fixtures
IfcSanitaryTerminalType.SINK | Plumbing Fixtures
IfcSanitaryTerminalType.SANITARYFOUNTAIN | Plumbing Fixtures
IfcSanitaryTerminalType.TOILETPAN | Plumbing Fixtures
IfcSanitaryTerminalType.URINAL | Plumbing Fixtures
IfcSanitaryTerminalType.WASHHANDBASIN | Plumbing Fixtures
IfcSanitaryTerminalType.WCSEAT | Plumbing Fixtures
IfcSanitaryTerminalType.USERDEFINED | Plumbing Fixtures
IfcSanitaryTerminalType.NOTDEFINED | Plumbing Fixtures
IfcSpaceHeater | #N/A
IfcSpaceHeaterType.CONVECTOR | Mechanical Equipment
IfcSpaceHeaterType.RADIATOR | Mechanical Equipment
IfcSpaceHeaterType.USERDEFINED | Mechanical Equipment
IfcSpaceHeaterType.NOTDEFINED | Mechanical Equipment
IfcStackTerminal | #N/A
IfcStackTerminalType.BIRDCAGE | #N/A
IfcStackTerminalType.COWL | #N/A
IfcStackTerminalType.RAINWATERHOPPER | #N/A
IfcStackTerminalType.USERDEFINED | #N/A
IfcStackTerminalType.NOTDEFINED | #N/A
IfcWasteTerminal | #N/A
IfcWasteTerminalType.FLOORTRAP | #N/A
IfcWasteTerminalType.FLOORWASTE | #N/A
IfcWasteTerminalType.GULLYSUMP | Site
IfcWasteTerminalType.GULLYTRAP | Site
IfcWasteTerminalType.ROOFDRAIN | Plumbing Fixtures
IfcWasteTerminalType.WASTEDISPOSALUNIT | Specialty Equipment
IfcWasteTerminalType.WASTETRAP | #N/A
IfcWasteTerminalType.USERDEFINED | #N/A
IfcWasteTerminalType.NOTDEFINED | #N/A
IfcFlowTreatmentDevice | #N/A
IfcDuctSilencer | #N/A
IfcDuctSilencerType.FLATOVAL | Duct Accessories
IfcDuctSilencerType.RECTANGULAR | Duct Accessories
IfcDuctSilencerType.ROUND | Duct Accessories
IfcDuctSilencerType.USERDEFINED | Duct Accessories
IfcDuctSilencerType.NOTDEFINED | Duct Accessories
IfcFilter | #N/A
IfcFilterType.AIRPARTICLEFILTER | Mechanical Equipment
IfcFilterType.COMPRESSEDAIRFILTER | Mechanical Equipment
IfcFilterType.ODORFILTER | Mechanical Equipment
IfcFilterType.OILFILTER | Mechanical Equipment
IfcFilterType.STRAINER | Mechanical Equipment
IfcFilterType.WATERFILTER | Mechanical Equipment
IfcFilterType.USERDEFINED | Mechanical Equipment
IfcFilterType.NOTDEFINED | Mechanical Equipment
IfcInterceptor | #N/A
IfcInterceptorType.CYCOLONIC | Mechanical Equipment
IfcInterceptorType.GREASE | Mechanical Equipment
IfcInterceptorType.OIL | Mechanical Equipment
IfcInterceptorType.PETROL | Mechanical Equipment
IfcInterceptorType.USERDEFINED | Mechanical Equipment
IfcInterceptorType.NOTDEFINED | Mechanical Equipment
IfcElementAssembly | #N/A
IfcElementAssemblyType.ACCESSORY_ASSEMBLY | #N/A
IfcElementAssemblyType.ARCH | #N/A
IfcElementAssemblyType.BEAM_GRID | #N/A
IfcElementAssemblyType.BRACED_FRAME | #N/A
IfcElementAssemblyType.GIRDER | #N/A
IfcElementAssemblyType.REINFORCEMENT_UNIT | #N/A
IfcElementAssemblyType.RIGID_FRAME | #N/A
IfcElementAssemblyType.SLAB_FIELD | #N/A
IfcElementAssemblyType.TRUSS | #N/A
IfcElementAssemblyType.USERDEFINED | #N/A
IfcElementAssemblyType.NOTDEFINED | #N/A
IfcElementComponent | #N/A
IfcBuildingElementPart | #N/A
IfcBuildingElementPartType.INSULATION | #N/A
IfcBuildingElementPartType.PRECASTPANEL | #N/A
IfcBuildingElementPartType.USERDEFINED | #N/A
IfcBuildingElementPartType.NOTDEFINED | #N/A
IfcDiscreteAccessory | #N/A
IfcDiscreteAccessoryType.ANCHORPLATE | #N/A
IfcDiscreteAccessoryType.BRACKET | #N/A
IfcDiscreteAccessoryType.SHOE | #N/A
IfcDiscreteAccessoryType.USERDEFINED | #N/A
IfcDiscreteAccessoryType.NOTDEFINED | #N/A
IfcFastener | #N/A
IfcFastenerType.GLUE | #N/A
IfcFastenerType.MORTAR | #N/A
IfcFastenerType.WELD | #N/A
IfcFastenerType.USERDEFINED | #N/A
IfcFastenerType.NOTDEFINED | #N/A
IfcMechanicalFastener | #N/A
IfcMechanicalFastenerType.ANCHORBOLT | #N/A
IfcMechanicalFastenerType.BOLT | #N/A
IfcMechanicalFastenerType.DOWEL | #N/A
IfcMechanicalFastenerType.NAIL | #N/A
IfcMechanicalFastenerType.NAILPLATE | #N/A
IfcMechanicalFastenerType.RIVET | #N/A
IfcMechanicalFastenerType.SCREW | #N/A
IfcMechanicalFastenerType.SHEARCONNECTOR | Structural Connections
IfcMechanicalFastenerType.STAPLE | Structural Connections
IfcMechanicalFastenerType.STUDSHEARCONNECTOR | Structural Connections
IfcMechanicalFastenerType.USERDEFINED | Structural Connections
IfcMechanicalFastenerType.NOTDEFINED | Structural Connections
IfcReinforcingElement | #N/A
IfcReinforcingBar | #N/A
IfcReinforcingBarType.ANCHORING | Structural Rebar
IfcReinforcingBarType.EDGE | Structural Rebar
IfcReinforcingBarType.LIGATURE | Structural Rebar
IfcReinforcingBarType.MAIN | Structural Rebar
IfcReinforcingBarType.PUNCHING | Structural Rebar
IfcReinforcingBarType.RING | Structural Rebar
IfcReinforcingBarType.SHEAR | Structural Rebar
IfcReinforcingBarType.STUD | Structural Rebar
IfcReinforcingBarType.USERDEFINED | Structural Rebar
IfcReinforcingBarType.NOTDEFINED | Structural Rebar
IfcReinforcingMesh | #N/A
IfcReinforcingMeshType.USERDEFINED | Structural Area Reinforcement
IfcReinforcingMeshType.NOTDEFINED | Structural Area Reinforcement
IfcTendon | #N/A
IfcTendonType.BAR | Structural Path Reinforcement
IfcTendonType.COATED | Structural Path Reinforcement
IfcTendonType.STRAND | Structural Path Reinforcement
IfcTendonType.WIRE | Structural Path Reinforcement
IfcTendonType.USERDEFINED | Structural Path Reinforcement
IfcTendonType.NOTDEFINED | Structural Path Reinforcement
IfcTendonAnchor | #N/A
IfcTendonAnchorType.COUPLER | Structural Path Reinforcement
IfcTendonAnchorType.FIXED_END | Structural Path Reinforcement
IfcTendonAnchorType.TENSIONING_END | Structural Path Reinforcement
IfcTendonAnchorType.USERDEFINED | Structural Path Reinforcement
IfcTendonAnchorType.NOTDEFINED | Structural Path Reinforcement
IfcVibrationIsolator | #N/A
IfcVibrationIsolatorType.COMPRESSION | #N/A
IfcVibrationIsolatorType.SPRING | #N/A
IfcVibrationIsolatorType.USERDEFINED | #N/A
IfcVibrationIsolatorType.NOTDEFINED | #N/A
IfcFeatureElement | #N/A
IfcFeatureElementAddition | #N/A
IfcProjectionElement | #N/A
IfcProjectionElementType.USERDEFINED | #N/A
IfcProjectionElementType.NOTDEFINED | #N/A
IfcFeatureElementSubtraction | #N/A
IfcOpeningElement | #N/A
IfcOpeningElementType.OPENING | #N/A
IfcOpeningElementType.RECESS | #N/A
IfcOpeningElementType.USERDEFINED | #N/A
IfcOpeningElementType.NOTDEFINED | #N/A
IfcVoidingFeature | #N/A
IfcVoidingFeatureType.CUTOUT | #N/A
IfcVoidingFeatureType.NOTCH | #N/A
IfcVoidingFeatureType.HOLE | #N/A
IfcVoidingFeatureType.MITER | #N/A
IfcVoidingFeatureType.CHAMFER | #N/A
IfcVoidingFeatureType.EDGE | #N/A
IfcVoidingFeatureType.USERDEFINED | #N/A
IfcVoidingFeatureType.NOTDEFINED | #N/A
IfcSurfaceFeature | #N/A
IfcSurfaceFeatureType.MARK | #N/A
IfcSurfaceFeatureType.TAG | #N/A
IfcSurfaceFeatureType.TREATMENT | #N/A
IfcSurfaceFeatureType.USERDEFINED | #N/A
IfcSurfaceFeatureType.NOTDEFINED | #N/A
ifcFurnishingElement | #N/A
IfcFurniture | #N/A
IfcFurnitureType.CHAIR | Furniture
IfcFurnitureType.TABLE | Furniture
IfcFurnitureType.DESK | Furniture
IfcFurnitureType.BED | Furniture
IfcFurnitureType.FILECABINET | Furniture
IfcFurnitureType.SHELF | Furniture
IfcFurnitureType.SOFA | Furniture
IfcFurnitureType.USERDEFINED | Furniture
IfcFurnitureType.NOTDEFINED | Furniture
IfcSystemFurnitureElement | #N/A
IfcSystemFurnitureElementType.PANEL | Furniture Systems
IfcSystemFurnitureElementType.WORKSURFACE | Furniture Systems
IfcSystemFurnitureElementType.USERDEFINED | Furniture Systems
IfcSystemFurnitureElementType.NOTDEFINED | Furniture Systems
IfcGeographicElement | #N/A
IfcGeographicElementType.TERRAIN | #N/A
IfcGeographicElementType.USERDEFINED | #N/A
IfcGeographicElementType.NOTDEFINED | #N/A
IfcTransportElement | #N/A
IfcTransportElementType.ELEVATOR | #N/A
IfcTransportElementType.ESCALATOR | #N/A
IfcTransportElementType.MOVINGWALKWAY | #N/A
IfcTransportElementType.CRANEWAY | #N/A
IfcTransportElementType.LIFTINGGEAR | #N/A
IfcTransportElementType.USERDEFINED | #N/A
IfcTransportElementType.NOTDEFINED | #N/A
IfcVirtualElement | #N/A